## Components
COMPONENT NAME* | DESCRIPTION | PBS L1 | TTT* | SERIAL NUMBER
55B2A0-IOB-0002 | Chelsio T420 | 55 | IOB
55B2A0-IOB-0003 | Chelsio T420 | 55 | IOB
55B2A0-IOB-0011 | Chelsio T420 | 55 | IOB
55B2A0-IOB-0012 | Chelsio T420 | 55
55B2A0-IOB-0021 | Chelsio T420 | 55 | IOB
55B2A0-IOB-0022 | Chelsio T420 | 55 | IOB
55B2A0-PLC-0001 | Cubicle monitoring system PLC | 55 | PLC
55B2A0-PLC-0002 | Cubicle monitoring system PLC | 55 | PLC
55B2A0-DEL-0101 | Diamond detector (Detectors Unit 10) | 55 | DEL
55B2A0-DEL-0102 | Diamond detector (Detectors Unit 10) | 55 | DEL
55B2A0-DEL-0111 | Diamond detector (Detectors Unit 11) | 55 | DEL
55B2A0-DEL-0112 | Diamond detector (Detectors Unit 11) | 55 | DEL
55B2A0-DEL-0121 | Diamond detector (Detectors Unit 12) | 55 | DEL
55B2A0-DEL-0122 | Diamond detector (Detectors Unit 12) | 55 | DEL
55B2A0-DEL-0071 | Diamond detector (Detectors Unit 7) | 55 | DEL
55B2A0-DEL-0072 | Diamond detector (Detectors Unit 7) | 55 | DEL
55B2A0-DEL-0081 | Diamond detector (Detectors Unit 8) | 55 | DEL
55B2A0-DEL-0082 | Diamond detector (Detectors Unit 8) | 55 | DEL
55B2A0-DEL-0091 | Diamond detector (Detectors Unit 9) | 55 | DEL
55B2A0-DEL-0092 | Diamond detector (Detectors Unit 9) | 55 | DEL
55B2A0-PCF-0004 | Fast Controller CPU Chassis (IPC) | 55 | PCF
55B2A0-PCF-0005 | Fast Controller CPU Chassis (IPC) | 55 | PCF
55B2A0-PCF-0006 | Fast Controller CPU Chassis (IPC) | 55 | PCF
55B2A0-DEL-0103 | Fission chamber (Detectors Unit 10) | 55 | DEL
55B2A0-DEL-0104 | Fission chamber (Detectors Unit 10) | 55 | DEL
55B2A0-DEL-0113 | Fission chamber (Detectors Unit 11) | 55 | DEL
55B2A0-DEL-0114 | Fission chamber (Detectors Unit 11) | 55 | DEL
55B2A0-DEL-0123 | Fission chamber (Detectors Unit 12) | 55 | DEL
55B2A0-DEL-0124 | Fission chamber (Detectors Unit 12) | 55 | DEL
55B2A0-DEL-0073 | Fission chamber (Detectors Unit 7) | 55 | DEL
55B2A0-DEL-0074 | Fission chamber (Detectors Unit 7) | 55 | DEL
55B2A0-DEL-0083 | Fission chamber (Detectors Unit 8) | 55 | DEL
55B2A0-DEL-0084 | Fission chamber (Detectors Unit 8) | 55 | DEL
55B2A0-DEL-0093 | Fission chamber (Detectors Unit 9) | 55 | DEL
55B2A0-DEL-0094 | Fission chamber (Detectors Unit 9) | 55 | DEL
55B2A0-RCK-0003 | FOR Chassis B74 | 55 | RCK
55B2A0-RCK-0004 | FOR Chassis B74 | 55 | RCK
55B2A0-RCK-0001 | FOR Chassis B74 | 55 | RCK
55B2A0-RCK-0005 | FOR Chassis B74 | 55 | RCK
55B2A0-RCK-0002 | FOR Chassis B74 | 55 | RCK
55B2A0-RCK-0006 | FOR Chassis B74 | 55 | RCK
55B2A0-RCK-0007 | FOT Chassis | 55 | RCK
55B2A0-RCK-0008 | FOT Chassis | 55 | RCK
55B2A0-RCK-0009 | FOT Chassis | 55 | RCK
55B2A0-RCK-0010 | FOT Chassis | 55 | RCK
55B2A0-RCK-0011 | FOT Chassis | 55 | RCK
55B2A0-RCK-0012 | FOT Chassis | 55 | RCK
55B2A0-RIO-0004 | National Instruments Chassis PXIe-1095 | 55 | RIO
55B2A0-RIO-0011 | National Instruments Chassis PXIe-1095 | 55 | RIO
55B2A0-RIO-0003 | National Instruments Chassis PXIe-1095 | 55 | RIO
55B2A0-SWT-0005 | Network Switch L2 | 55 | SWT
55B2A0-SWT-0006 | Network Switch L2 | 55 | SWT
55B2A0-IOB-0019 | NI 5763 | 55 | IOB
55B2A0-IOB-0029 | NI 5763 | 55 | IOB
55B2A0-IOB-0009 | NI 5763 | 55 | IOB
55B2A0-IOB-0016 | NI 5772 | 55 | IOB
55B2A0-IOB-0018 | NI 5772 | 55 | IOB
55B2A0-IOB-0006 | NI 5772 | 55 | IOB
55B2A0-IOB-0026 | NI 5772 | 55 | IOB
55B2A0-IOB-0030 | NI 5772 | 55 | IOB
55B2A0-IOB-0028 | NI 5772 | 55 | IOB
55B2A0-IOB-0001 | PCIe-8398 | 55 | IOB
55B2A0-IOB-0010 | PCIe-8398 | 55 | IOB
55B2A0-IOB-0020 | PCIe-8398 | 55 | IOB
55B2A0-RCK-0013 | Port Cell PreAmp chassis | 55 | RCK
55B2A0-PSU-0001 | Power Control Module | 55 | PSU
55B2A0-PSU-0002 | Power Control Module | 55 | PSU
55B2A0-PSU-0003 | Power Control Module | 55 | PSU
55B2A0-PSU-0004 | Power Control Module | 55 | PSU
55B2A0-PSU-0005 | Power Control Module | 55 | PSU
55B2A0-PSU-0006 | Power Control Module | 55 | PSU
55B2A0-CU-3201 | Powered Cubicle | 55 | CU
55B2A0-CU-3202 | Powered Cubicle | 55 | CU
55B2A0-AMP-0001 | Pre-Amp Module | 55 | AMP
55B2A0-AMP-0002 | Pre-Amp Module | 55 | AMP
55B2A0-AMP-0003 | Pre-Amp Module | 55 | AMP
55B2A0-AMP-0004 | Pre-Amp Module | 55 | AMP
55B2A0-AMP-0005 | Pre-Amp Module | 55 | AMP
55B2A0-AMP-0006 | Pre-Amp Module | 55 | AMP
55B2A0-IOB-0015 | PXIe 7976R | 55 | IOB
55B2A0-IOB-0017 | PXIe 7976R | 55 | IOB
55B2A0-IOB-0025 | PXIe 7976R | 55 | IOB
55B2A0-IOB-0007 | PXIe 7976R | 55 | IOB
55B2A0-IOB-0008 | PXIe 7976R | 55 | IOB
55B2A0-IOB-0027 | PXIe 7976R | 55 | IOB
55B2A0-IOB-0005 | PXIe-6683H | 55 | IOB
55B2A0-IOB-0014 | PXIe-6683H | 55 | IOB
55B2A0-IOB-0024 | PXIe-6683H | 55 | IOB
55B2A0-IOB-0004 | PXIe-8398 | 55 | IOB
55B2A0-IOB-0013 | PXIe-8398 | 55 | IOB
55B2A0-IOB-0023 | PXIe-8398 | 55 | IOB
55B2A0-CR-1142 | Shielded Cabinet in B1-C14 (55B2) | 55 | CR
55B2A0-PLC-0003 | Siemens Controller SIMATIC S7-1500 | 55 | PLC
55B2A0-MT-0001 | Temperature sensor | 55 | MT
55B2A0-MT-0002 | Temperature sensor | 55 | MT
55B2B0-IOB-0002 | Chelsio T420 | 55 | IOB
55B2B0-IOB-0003 | Chelsio T420 | 55 | IOB
55B2B0-IOB-0012 | Chelsio T420 | 55 | IOB
55B2B0-IOB-0013 | Chelsio T420 | 55 | IOB
55B2B0-IOB-0022 | Chelsio T420 | 55 | IOB
55B2B0-IOB-0023 | Chelsio T420 | 55 | IOB
55B2B0-PLC-0001 | Cubicle monitoring system PLC | 55 | PLC
55B2B0-PLC-0003 | Cubicle monitoring system PLC | 55 | PLC
55B2B0-DEL-0011 | Diamond detector (Detectors Unit 1) | 55 | DEL
55B2B0-DEL-0012 | Diamond detector (Detectors Unit 1) | 55 | DEL
55B2B0-DEL-0021 | Diamond detector (Detectors Unit 2) | 55 | DEL
55B2B0-DEL-0022 | Diamond detector (Detectors Unit 2) | 55 | DEL
55B2B0-DEL-0031 | Diamond detector (Detectors Unit 3) | 55 | DEL
55B2B0-DEL-0032 | Diamond detector (Detectors Unit 3) | 55 | DEL
55B2B0-DEL-0041 | Diamond detector (Detectors Unit 4) | 55 | DEL
55B2B0-DEL-0042 | Diamond detector (Detectors Unit 4) | 55 | DEL
55B2B0-DEL-0051 | Diamond detector (Detectors Unit 5) | 55 | DEL
55B2B0-DEL-0052 | Diamond detector (Detectors Unit 5) | 55 | DEL
55B2B0-DEL-0061 | Diamond detector (Detectors Unit 6) | 55 | DEL
55B2B0-DEL-0062 | Diamond detector (Detectors Unit 6) | 55 | DEL
55B2B0-PCF-0001 | Fast Controller CPU Chassis (IPC) | 55 | PCF
55B2B0-PCF-0002 | Fast Controller CPU Chassis (IPC) | 55 | PCF
55B2B0-PCF-0003 | Fast Controller CPU Chassis (IPC) | 55 | PCF
55B2B0-DEL-0013 | Fission chamber (Detectors Unit 1) | 55 | DEL
55B2B0-DEL-0014 | Fission chamber (Detectors Unit 1) | 55 | DEL
55B2B0-DEL-0023 | Fission chamber (Detectors Unit 2) | 55 | DEL
55B2B0-DEL-0024 | Fission chamber (Detectors Unit 2) | 55 | DEL
55B2B0-DEL-0033 | Fission chamber (Detectors Unit 3) | 55 | DEL
55B2B0-DEL-0034 | Fission chamber (Detectors Unit 3) | 55 | DEL
55B2B0-DEL-0043 | Fission chamber (Detectors Unit 4) | 55 | DEL
55B2B0-DEL-0044 | Fission chamber (Detectors Unit 4) | 55 | DEL
55B2B0-DEL-0053 | Fission chamber (Detectors Unit 5) | 55 | DEL
55B2B0-DEL-0054 | Fission chamber (Detectors Unit 5) | 55 | DEL
55B2B0-DEL-0063 | Fission chamber (Detectors Unit 6) | 55 | DEL
55B2B0-DEL-0064 | Fission chamber (Detectors Unit 6) | 55 | DEL
55B2B0-RCK-0001 | FOR Chassis B74 | 55 | RCK
55B2B0-RCK-0003 | FOR Chassis B74 | 55 | RCK
55B2B0-RCK-0002 | FOR Chassis B74 | 55 | RCK
55B2B0-RCK-0004 | FOR Chassis B74 | 55 | RCK
55B2B0-RCK-0005 | FOR Chassis B74 | 55 | RCK
55B2B0-RCK-0006 | FOR Chassis B74 | 55 | RCK
55B2B0-RCK-0009 | FOT Chassis | 55 | RCK
55B2B0-RCK-0010 | FOT Chassis | 55 | RCK
55B2B0-RCK-0011 | FOT Chassis | 55 | RCK
55B2B0-RCK-0012 | FOT Chassis | 55 | RCK
55B2B0-RCK-0007 | FOT Chassis | 55 | RCK
55B2B0-RCK-0008 | FOT Chassis | 55 | RCK
55B2B0-RIO-0001 | National Instruments Chassis PXIe-1095 | 55 | RIO
55B2B0-RIO-0002 | National Instruments Chassis PXIe-1095 | 55 | RIO
55B2B0-RIO-0003 | National Instruments Chassis PXIe-1095 | 55 | RIO
55B2B0-SWT-0003 | Network Switch L2 | 55 | SWT
55B2B0-SWT-0002 | Network Switch L2 | 55 | SWT
55B2B0-IOB-0020 | NI 5763 | 55 | IOB
55B2B0-IOB-0010 | NI 5763 | 55 | IOB
55B2B0-IOB-0030 | NI 5763 | 55 | IOB
55B2B0-IOB-0007 | NI 5772 | 55 | IOB
55B2B0-IOB-0017 | NI 5772 | 55 | IOB
55B2B0-IOB-0019 | NI 5772 | 55 | IOB
55B2B0-IOB-0009 | NI 5772 | 55 | IOB
55B2B0-IOB-0027 | NI 5772 | 55 | IOB
55B2B0-IOB-0029 | NI 5772 | 55 | IOB
55B2B0-IOB-0001 | PCIe-8398 | 55 | IOB
55B2B0-IOB-0011 | PCIe-8398 | 55 | IOB
55B2B0-IOB-0021 | PCIe-8398 | 55 | IOB
55B2B0-RCK-0013 | Port Cell PreAmp chassis | 55 | RCK
55B2B0-PSU-0001 | Power Control Module | 55 | PSU
55B2B0-PSU-0002 | Power Control Module | 55 | PSU
55B2B0-PSU-0003 | Power Control Module | 55 | PSU
55B2B0-PSU-0004 | Power Control Module | 55 | PSU
55B2B0-PSU-0005 | Power Control Module | 55 | PSU
55B2B0-PSU-0006 | Power Control Module | 55 | PSU
55B2B0-CU-7501 | Powered Cubicle | 55 | CU
55B2B0-CU-7502 | Powered Cubicle | 55 | CU
55B2B0-AMP-0001 | Pre-Amp Module | 55 | AMP
55B2B0-AMP-0002 | Pre-Amp Module | 55 | AMP
55B2B0-AMP-0003 | Pre-Amp Module | 55 | AMP
55B2B0-AMP-0004 | Pre-Amp Module | 55 | AMP
55B2B0-AMP-0005 | Pre-Amp Module | 55 | AMP
55B2B0-AMP-0006 | Pre-Amp Module | 55 | AMP
55B2B0-IOB-0006 | PXIe 7976R | 55 | IOB
55B2B0-IOB-0016 | PXIe 7976R | 55 | IOB
55B2B0-IOB-0018 | PXIe 7976R | 55 | IOB
55B2B0-IOB-0008 | PXIe 7976R | 55 | IOB
55B2B0-IOB-0026 | PXIe 7976R | 55 | IOB
55B2B0-IOB-0028 | PXIe 7976R | 55 | IOB
55B2B0-IOB-0005 | PXIe-6683H | 55 | IOB
55B2B0-IOB-0015 | PXIe-6683H | 55 | IOB
55B2B0-IOB-0025 | PXIe-6683H | 55 | IOB
55B2B0-IOB-0004 | PXIe-8398 | 55 | IOB
55B2B0-IOB-0014 | PXIe-8398 | 55 | IOB
55B2B0-IOB-0024 | PXIe-8398 | 55 | IOB
55B2B0-CR-3182 | Shielded Cabinet in L2-C18 (55B2) | 55 | CR
55B2B0-PLC-0002 | Siemens Controller SIMATIC S7-1500 | 55 | PLC
55B2B0-MT-0001 | Temperature sensor | 55 | MT
55B2B0-MT-0002 | Temperature sensor | 55 | MT

## Signals
SIGNAL NAME* | DESCRIPTION | COMPONENT NAME | SIGNAL TYPE* | LOGIC | SIGNAL RANGE | I/O MODULE NAME | I/O MODULE INTERFACE
55B2A0-DEL-0071:RT-CRL | Signal from diamond detector to preamplifier | 55B2A0-AMP-0001 | A | P | 0 +10 V
55B2A0-DEL-0072:RT-CRL | Signal from diamond detector to preamplifier | 55B2A0-AMP-0001 | A | P | 0 +10 V
55B2A0-DEL-0073:RT-CRL | Signal from fission chamber to preamplifier | 55B2A0-AMP-0002 | A | P | 0 +10 V
55B2A0-DEL-0074:RT-CRL | Signal from fission chamber to preamplifier | 55B2A0-AMP-0002 | A | P | 0 +10 V
55B2A0-DEL-0081:RT-CRL | Signal from diamond detector to preamplifier | 55B2A0-AMP-0001 | A | P | 0 +10 V
55B2A0-DEL-0082:RT-CRL | Signal from diamond detector to preamplifier | 55B2A0-AMP-0001 | A | P | 0 +10 V
55B2A0-DEL-0083:RT-CRL | Signal from fission chamber to preamplifier | 55B2A0-AMP-0002 | A | P | 0 +10 V
55B2A0-DEL-0084:RT-CRL | Signal from fission chamber to preamplifier | 55B2A0-AMP-0002 | A | P | 0 +10 V
55B2A0-DEL-0091:RT-CRL | Signal from diamond detector to preamplifier | 55B2A0-AMP-0003 | A | P | 0 +10 V
55B2A0-DEL-0092:RT-CRL | Signal from diamond detector to preamplifier | 55B2A0-AMP-0003 | A | P | 0 +10 V
55B2A0-DEL-0093:RT-CRL | Signal from fission chamber to preamplifier | 55B2A0-AMP-0004 | A | P | 0 +10 V
55B2A0-DEL-0094:RT-CRL | Signal from fission chamber to preamplifier | 55B2A0-AMP-0004 | A | P | 0 +10 V
55B2A0-DEL-0101:RT-CRL | Signal from diamond detector to preamplifier | 55B2A0-AMP-0003 | A | P | 0 +10 V
55B2A0-DEL-0102:RT-CRL | Signal from diamond detector to preamplifier | 55B2A0-AMP-0003 | A | P | 0 +10 V
55B2A0-DEL-0103:RT-CRL | Signal from fission chamber to preamplifier | 55B2A0-AMP-0004 | A | P | 0 +10 V
55B2A0-DEL-0104:RT-CRL | Signal from fission chamber to preamplifier | 55B2A0-AMP-0004 | A | P | 0 +10 V
55B2A0-DEL-0111:RT-CRL | Signal from diamond detector to preamplifier | 55B2A0-AMP-0005 | A | P | 0 +10 V
55B2A0-DEL-0112:RT-CRL | Signal from diamond detector to preamplifier | 55B2A0-AMP-0005 | A | P | 0 +10 V
55B2A0-DEL-0113:RT-CRL | Signal from fission chamber to preamplifier | 55B2A0-AMP-0006 | A | P | 0 +10 V
55B2A0-DEL-0114:RT-CRL | Signal from fission chamber to preamplifier | 55B2A0-AMP-0006 | A | P | 0 +10 V
55B2A0-DEL-0121:RT-CRL | Signal from diamond detector to preamplifier | 55B2A0-AMP-0005 | A | P | 0 +10 V
55B2A0-DEL-0122:RT-CRL | Signal from diamond detector to preamplifier | 55B2A0-AMP-0005 | A | P | 0 +10 V
55B2A0-DEL-0123:RT-CRL | Signal from fission chamber to preamplifier | 55B2A0-AMP-0006 | A | P | 0 +10 V
55B2A0-DEL-0124:RT-CRL | Signal from fission chamber to preamplifier | 55B2A0-AMP-0006 | A | P | 0 +10 V
55B2A0-AMP-0001:ET1-CCC | Signal from preamplifier to FOT module | 55B2A0-RCK-0007 | A | P | 0 +10 V
55B2A0-AMP-0001:ET2-CCC | Signal from preamplifier to FOT module | 55B2A0-RCK-0007 | A | P | 0 +10 V
55B2A0-AMP-0001:ET3-CCC | Signal from preamplifier to FOT module | 55B2A0-RCK-0007 | A | P | 0 +10 V
55B2A0-AMP-0001:ET4-CCC | Signal from preamplifier to FOT module | 55B2A0-RCK-0007 | A | P | 0 +10 V
55B2A0-AMP-0002:ET1-CCC | Signal from preamplifier to FOT module | 55B2A0-RCK-0008 | A | P | 0 +10 V
55B2A0-AMP-0002:ET2-CCC | Signal from preamplifier to FOT module | 55B2A0-RCK-0008 | A | P | 0 +10 V
55B2A0-AMP-0002:ET3-CCC | Signal from preamplifier to FOT module | 55B2A0-RCK-0008 | A | P | 0 +10 V
55B2A0-AMP-0002:ET4-CCC | Signal from preamplifier to FOT module | 55B2A0-RCK-0008 | A | P | 0 +10 V
55B2A0-AMP-0003:ET1-CCC | Signal from preamplifier to FOT module | 55B2A0-RCK-0009 | A | P | 0 +10 V
55B2A0-AMP-0003:ET2-CCC | Signal from preamplifier to FOT module | 55B2A0-RCK-0009 | A | P | 0 +10 V
55B2A0-AMP-0003:ET3-CCC | Signal from preamplifier to FOT module | 55B2A0-RCK-0009 | A | P | 0 +10 V
55B2A0-AMP-0003:ET4-CCC | Signal from preamplifier to FOT module | 55B2A0-RCK-0009 | A | P | 0 +10 V
55B2A0-AMP-0004:ET1-CCC | Signal from preamplifier to FOT module | 55B2A0-RCK-0010 | A | P | 0 +10 V
55B2A0-AMP-0004:ET2-CCC | Signal from preamplifier to FOT module | 55B2A0-RCK-0010 | A | P | 0 +10 V
55B2A0-AMP-0004:ET3-CCC | Signal from preamplifier to FOT module | 55B2A0-RCK-0010 | A | P | 0 +10 V
55B2A0-AMP-0004:ET4-CCC | Signal from preamplifier to FOT module | 55B2A0-RCK-0010 | A | P | 0 +10 V
55B2A0-AMP-0005:ET1-CCC | Signal from preamplifier to FOT module | 55B2A0-RCK-0011 | A | P | 0 +10 V
55B2A0-AMP-0005:ET2-CCC | Signal from preamplifier to FOT module | 55B2A0-RCK-0011 | A | P | 0 +10 V
55B2A0-AMP-0005:ET3-CCC | Signal from preamplifier to FOT module | 55B2A0-RCK-0011 | A | P | 0 +10 V
55B2A0-AMP-0005:ET4-CCC | Signal from preamplifier to FOT module | 55B2A0-RCK-0011 | A | P | 0 +10 V
55B2A0-AMP-0006:ET1-CCC | Signal from preamplifier to FOT module | 55B2A0-RCK-0012 | A | P | 0 +10 V
55B2A0-AMP-0006:ET2-CCC | Signal from preamplifier to FOT module | 55B2A0-RCK-0012 | A | P | 0 +10 V
55B2A0-AMP-0006:ET3-CCC | Signal from preamplifier to FOT module | 55B2A0-RCK-0012 | A | P | 0 +10 V
55B2A0-AMP-0006:ET4-CCC | Signal from preamplifier to FOT module | 55B2A0-RCK-0012 | A | P | 0 +10 V
55B2A0-PSU-0001:EREF-CCH | Analog signal from Control Module to preamplifier | 55B2A0-AMP-0001 | A | P | 0 +10 V
55B2A0-PSU-0002:EREF-CCH | Analog signal from Control Module to preamplifier | 55B2A0-AMP-0002 | A | P | 0 +10 V
55B2A0-PSU-0003:EREF-CCH | Analog signal from Control Module to preamplifier | 55B2A0-AMP-0003 | A | P | 0 +10 V
55B2A0-PSU-0004:EREF-CCH | Analog signal from Control Module to preamplifier | 55B2A0-AMP-0004 | A | P | 0 +10 V
55B2A0-PSU-0005:EREF-CCH | Analog signal from Control Module to preamplifier | 55B2A0-AMP-0005 | A | P | 0 +10 V
55B2A0-PSU-0006:EREF-CCH | Analog signal from Control Module to preamplifier | 55B2A0-AMP-0006 | A | P | 0 +10 V
55B2A0-PSU-0001:CREF-CCC | Digital signal From control Module to preamplifier | 55B2A0-AMP-0001 | D | P | 24 V DC
55B2A0-PSU-0002:CREF-CCC | Digital signal From control Module to preamplifier | 55B2A0-AMP-0002 | D | P | 24 V DC
55B2A0-PSU-0003:CREF-CCC | Digital signal From control Module to preamplifier | 55B2A0-AMP-0003 | D | P | 24 V DC
55B2A0-PSU-0004:CREF-CCC | Digital signal From control Module to preamplifier | 55B2A0-AMP-0004 | D | P | 24 V DC
55B2A0-PSU-0005:CREF-CCC | Digital signal From control Module to preamplifier | 55B2A0-AMP-0005 | D | P | 24 V DC
55B2A0-PSU-0006:CREF-CCC | Digital signal From control Module to preamplifier | 55B2A0-AMP-0006 | D | P | 24 V DC
55B2A0-PSU-0001:EREF-CCH | Analog signal from preamplifier to Control module | 55B2A0-AMP-0001 | A | P | 0 +10 V
55B2A0-PSU-0002:EREF-CCH | Analog signal from preamplifier to Control module | 55B2A0-AMP-0002 | A | P | 0 +10 V
55B2A0-PSU-0003:EREF-CCH | Analog signal from preamplifier to Control module | 55B2A0-AMP-0003 | A | P | 0 +10 V
55B2A0-PSU-0004:EREF-CCH | Analog signal from preamplifier to Control module | 55B2A0-AMP-0004 | A | P | 0 +10 V
55B2A0-PSU-0005:EREF-CCH | Analog signal from preamplifier to Control module | 55B2A0-AMP-0005 | A | P | 0 +10 V
55B2A0-PSU-0006:EREF-CCH | Analog signal from preamplifier to Control module | 55B2A0-AMP-0006 | A | P | 0 +10 V
55B2A0-PSU-0001:CREF-CCH | Digital signal from preamplifier to Control Module | 55B2A0-AMP-0001 | D | P | 24 V DC
55B2A0-PSU-0002:CREF-CCH | Digital signal from preamplifier to Control Module | 55B2A0-AMP-0002 | D | P | 24 V DC
55B2A0-PSU-0003:CREF-CCH | Digital signal from preamplifier to Control Module | 55B2A0-AMP-0003 | D | P | 24 V DC
55B2A0-PSU-0004:CREF-CCH | Digital signal from preamplifier to Control Module | 55B2A0-AMP-0004 | D | P | 24 V DC
55B2A0-PSU-0005:CREF-CCH | Digital signal from preamplifier to Control Module | 55B2A0-AMP-0005 | D | P | 24 V DC
55B2A0-PSU-0006:CREF-CCH | Digital signal from preamplifier to Control Module | 55B2A0-AMP-0006 | D | P | 24 V DC
55B2A0-PLC-0003:EREF1-CCC | Analog signal from PLC to Control Module | 55B2A0-PSU-0001 | A | P | 0 +10 V
55B2A0-PLC-0003:EREF2-CCC | Analog signal from PLC to Control Module | 55B2A0-PSU-0002 | A | P | 0 +10 V
55B2A0-PLC-0003:EREF3-CCC | Analog signal from PLC to Control Module | 55B2A0-PSU-0003 | A | P | 0 +10 V
55B2A0-PLC-0003:EREF4-CCC | Analog signal from PLC to Control Module | 55B2A0-PSU-0004 | A | P | 0 +10 V
55B2A0-PLC-0003:EREF5-CCC | Analog signal from PLC to Control Module | 55B2A0-PSU-0005 | A | P | 0 +10 V
55B2A0-PLC-0003:EREF6-CCC | Analog signal from PLC to Control Module | 55B2A0-PSU-0006 | A | P | 0 +10 V
55B2A0-PLC-0003:CREF1-CCC | Digital signal from PLC to Control Module | 55B2A0-PSU-0001 | D | P | 24 V DC
55B2A0-PLC-0003:CREF2-CCC | Digital signal from PLC to Control Module | 55B2A0-PSU-0002 | D | P | 24 V DC
55B2A0-PLC-0003:CREF3-CCC | Digital signal from PLC to Control Module | 55B2A0-PSU-0003 | D | P | 24 V DC
55B2A0-PLC-0003:CREF4-CCC | Digital signal from PLC to Control Module | 55B2A0-PSU-0004 | D | P | 24 V DC
55B2A0-PLC-0003:CREF5-CCC | Digital signal from PLC to Control Module | 55B2A0-PSU-0005 | D | P | 24 V DC
55B2A0-PLC-0003:CREF6-CCC | Digital signal from PLC to Control Module | 55B2A0-PSU-0006 | D | P | 24 V DC
55B2A0-PSU-0001:EREF-CCC | Analog signal from Control Module to PLC | 55B2A0-PLC-0003 | A | P | 0 +10 V
55B2A0-PSU-0002:EREF-CCC | Analog signal from Control Module to PLC | 55B2A0-PLC-0003 | A | P | 0 +10 V
55B2A0-PSU-0003:EREF-CCC | Analog signal from Control Module to PLC | 55B2A0-PLC-0003 | A | P | 0 +10 V
55B2A0-PSU-0004:EREF-CCC | Analog signal from Control Module to PLC | 55B2A0-PLC-0003 | A | P | 0 +10 V
55B2A0-PSU-0005:EREF-CCC | Analog signal from Control Module to PLC | 55B2A0-PLC-0003 | A | P | 0 +10 V
55B2A0-PSU-0006:EREF-CCC | Analog signal from Control Module to PLC | 55B2A0-PLC-0003 | A | P | 0 +10 V
55B2A0-PSU-0001:CREF-CCC | Digital signal from Control Module to PLC | 55B2A0-PLC-0003 | D | P | 24 V DC
55B2A0-PSU-0002:CREF-CCC | Digital signal from Control Module to PLC | 55B2A0-PLC-0003 | D | P | 24 V DC
55B2A0-PSU-0003:CREF-CCC | Digital signal from Control Module to PLC | 55B2A0-PLC-0003 | D | P | 24 V DC
55B2A0-PSU-0004:CREF-CCC | Digital signal from Control Module to PLC | 55B2A0-PLC-0003 | D | P | 24 V DC
55B2A0-PSU-0005:CREF-CCC | Digital signal from Control Module to PLC | 55B2A0-PLC-0003 | D | P | 24 V DC
55B2A0-PSU-0006:CREF-CCC | Digital signal from Control Module to PLC | 55B2A0-PLC-0003 | D | P | 24 V DC
55B2A0-PLC-0003:ET-CCC | Signal from PLC to PON |  | A | P | -1 +1 V
55B2A0-RCK-0007:ET1-CCC | Signal from FOT to FOR | 55B2A0-RCK-0001 | A | P | -1 +1 V
55B2A0-RCK-0007:ET2-CCC | Signal from FOT to FOR | 55B2A0-RCK-0001 | A | P | -1 +1 V
55B2A0-RCK-0007:ET3-CCC | Signal from FOT to FOR | 55B2A0-RCK-0001 | A | P | -1 +1 V
55B2A0-RCK-0007:ET4-CCC | Signal from FOT to FOR | 55B2A0-RCK-0001 | A | P | -1 +1 V
55B2A0-RCK-0008:ET1-CCC | Signal from FOT to FOR | 55B2A0-RCK-0002 | A | P | -1 +1 V
55B2A0-RCK-0008:ET2-CCC | Signal from FOT to FOR | 55B2A0-RCK-0002 | A | P | -1 +1 V
55B2A0-RCK-0008:ET3-CCC | Signal from FOT to FOR | 55B2A0-RCK-0002 | A | P | -1 +1 V
55B2A0-RCK-0008:ET4-CCC | Signal from FOT to FOR | 55B2A0-RCK-0002 | A | P | -1 +1 V
55B2A0-RCK-0009:ET1-CCC | Signal from FOT to FOR | 55B2A0-RCK-0003 | A | P | -1 +1 V
55B2A0-RCK-0009:ET2-CCC | Signal from FOT to FOR | 55B2A0-RCK-0003 | A | P | -1 +1 V
55B2A0-RCK-0009:ET3-CCC | Signal from FOT to FOR | 55B2A0-RCK-0003 | A | P | -1 +1 V
55B2A0-RCK-0009:ET4-CCC | Signal from FOT to FOR | 55B2A0-RCK-0003 | A | P | -1 +1 V
55B2A0-RCK-0010:ET1-CCC | Signal from FOT to FOR | 55B2A0-RCK-0004 | A | P | -1 +1 V
55B2A0-RCK-0010:ET2-CCC | Signal from FOT to FOR | 55B2A0-RCK-0004 | A | P | -1 +1 V
55B2A0-RCK-0010:ET3-CCC | Signal from FOT to FOR | 55B2A0-RCK-0004 | A | P | -1 +1 V
55B2A0-RCK-0010:ET4-CCC | Signal from FOT to FOR | 55B2A0-RCK-0004 | A | P | -1 +1 V
55B2A0-RCK-0011:ET1-CCC | Signal from FOT to FOR | 55B2A0-RCK-0005 | A | P | -1 +1 V
55B2A0-RCK-0011:ET2-CCC | Signal from FOT to FOR | 55B2A0-RCK-0005 | A | P | -1 +1 V
55B2A0-RCK-0011:ET3-CCC | Signal from FOT to FOR | 55B2A0-RCK-0005 | A | P | -1 +1 V
55B2A0-RCK-0011:ET4-CCC | Signal from FOT to FOR | 55B2A0-RCK-0005 | A | P | -1 +1 V
55B2A0-RCK-0012:ET1-CCC | Signal from FOT to FOR | 55B2A0-RCK-0006 | A | P | -1 +1 V
55B2A0-RCK-0012:ET2-CCC | Signal from FOT to FOR | 55B2A0-RCK-0006 | A | P | -1 +1 V
55B2A0-RCK-0012:ET3-CCC | Signal from FOT to FOR | 55B2A0-RCK-0006 | A | P | -1 +1 V
55B2A0-RCK-0012:ET4-CCC | Signal from FOT to FOR | 55B2A0-RCK-0006 | A | P | -1 +1 V
55B2A0-RCK-0001:ET1-CCC | Signal from FOR to ADC | 55B2A0-IOB-0006 | A | P | -1 +1 V
55B2A0-RCK-0001:ET2-CCC | Signal from FOR to ADC | 55B2A0-IOB-0006 | A | P | -1 +1 V
55B2A0-RCK-0001:ET3-CCC | Signal from FOR to ADC | 55B2A0-IOB-0030 | A | P | -1 +1 V
55B2A0-RCK-0001:ET4-CCC | Signal from FOR to ADC | 55B2A0-IOB-0030 | A | P | -1 +1 V
55B2A0-RCK-0002:ET1-CCC | Signal from FOR to ADC | 55B2A0-IOB-0009 | A | P | -1 +1 V
55B2A0-RCK-0002:ET2-CCC | Signal from FOR to ADC | 55B2A0-IOB-0009 | A | P | -1 +1 V
55B2A0-RCK-0002:ET3-CCC | Signal from FOR to ADC | 55B2A0-IOB-0009 | A | P | -1 +1 V
55B2A0-RCK-0002:ET4-CCC | Signal from FOR to ADC | 55B2A0-IOB-0009 | A | P | -1 +1 V
55B2A0-RCK-0003:ET1-CCC | Signal from FOR to ADC | 55B2A0-IOB-0016 | A | P | -1 +1 V
55B2A0-RCK-0003:ET2-CCC | Signal from FOR to ADC | 55B2A0-IOB-0016 | A | P | -1 +1 V
55B2A0-RCK-0003:ET3-CCC | Signal from FOR to ADC | 55B2A0-IOB-0026 | A | P | -1 +1 V
55B2A0-RCK-0003:ET4-CCC | Signal from FOR to ADC | 55B2A0-IOB-0026 | A | P | -1 +1 V
55B2A0-RCK-0004:ET1-CCC | Signal from FOR to ADC | 55B2A0-IOB-0029 | A | P | -1 +1 V
55B2A0-RCK-0004:ET2-CCC | Signal from FOR to ADC | 55B2A0-IOB-0029 | A | P | -1 +1 V
55B2A0-RCK-0004:ET3-CCC | Signal from FOR to ADC | 55B2A0-IOB-0029 | A | P | -1 +1 V
55B2A0-RCK-0004:ET4-CCC | Signal from FOR to ADC | 55B2A0-IOB-0029 | A | P | -1 +1 V
55B2A0-RCK-0005:ET1-CCC | Signal from FOR to ADC | 55B2A0-IOB-0018 | A | P | -1 +1 V
55B2A0-RCK-0005:ET2-CCC | Signal from FOR to ADC | 55B2A0-IOB-0018 | A | P | -1 +1 V
55B2A0-RCK-0005:ET3-CCC | Signal from FOR to ADC | 55B2A0-IOB-0028 | A | P | -1 +1 V
55B2A0-RCK-0005:ET4-CCC | Signal from FOR to ADC | 55B2A0-IOB-0028 | A | P | -1 +1 V
55B2A0-RCK-0006:ET1-CCC | Signal from FOR to ADC | 55B2A0-IOB-0019 | A | P | -1 +1 V
55B2A0-RCK-0006:ET2-CCC | Signal from FOR to ADC | 55B2A0-IOB-0019 | A | P | -1 +1 V
55B2A0-RCK-0006:ET3-CCC | Signal from FOR to ADC | 55B2A0-IOB-0019 | A | P | -1 +1 V
55B2A0-RCK-0006:ET4-CCC | Signal from FOR to ADC | 55B2A0-IOB-0019 | A | P | -1 +1 V
55B2A0-IOB-0004:ET-CCC | Signal from NI Chassis to PCF CPU | 55B2A0-IOB-0001 | A | P | -1 +1 V
55B2A0-IOB-0013:ET-CCC | Signal from NI Chassis to PCF CPU | 55B2A0-IOB-0010 | A | P | -1 +1 V
55B2A0-IOB-0023:ET-CCC | Signal from NI Chassis to PCF CPU | 55B2A0-IOB-0020 | A | P | -1 +1 V
55B2A0-PCF-0004:ET1-CCC | Signal from PCF CPU to TCN | 55B2A0-SWT-0005 | A | P | -1 +1 V
55B2A0-PCF-0005:ET1-CCC | Signal from PCF CPU to TCN | 55B2A0-SWT-0006 | A | P | -1 +1 V
55B2A0-PCF-0006:ET1-CCC | Signal from PCF CPU to TCN | 55B2A0-SWT-0006 | A | P | -1 +1 V
55B2A0-PCF-0004:ET2-CCC | Signal from PCF CPU to SDN | 55B2A0-SWT-0005 | A | P | -1 +1 V
55B2A0-PCF-0005:ET2-CCC | Signal from PCF CPU to SDN | 55B2A0-SWT-0006 | A | P | -1 +1 V
55B2A0-PCF-0006:ET2-CCC | Signal from PCF CPU to SDN | 55B2A0-SWT-0006 | A | P | -1 +1 V
55B2A0-PCF-0004:ET3-CCC | Signal from PCF CPU to DAN | 55B2A0-SWT-0005 | A | P | -1 +1 V
55B2A0-PCF-0005:ET3-CCC | Signal from PCF CPU to DAN | 55B2A0-SWT-0006 | A | P | -1 +1 V
55B2A0-PCF-0006:ET3-CCC | Signal from PCF CPU to DAN | 55B2A0-SWT-0006 | A | P | -1 +1 V
55B2A0-PCF-0004:ET4-CCC | Signal from PCF to PON | 55B2A0-SWT-0005 | A | P | -1 +1 V
55B2A0-PCF-0005:ET4-CCC | Signal from PCF to PON | 55B2A0-SWT-0006 | A | P | -1 +1 V
55B2A0-PCF-0006:ET4-CCC | Signal from PCF to PON | 55B2A0-SWT-0006 | A | P | -1 +1 V
55B2A0-PLC-0001:ET-CCC | Signal from Cubicle monitoring to PON | 55B2A0-SWT-0005 | A | P | -1 +1 V
55B2A0-PLC-0002:ET-CCC | Signal from Cubicle monitoring to PON | 55B2A0-SWT-0006 | A | P | -1 +1 V
55B2A0-MT-0001:TT-CCC | Signal from temperature sensor to PLC | 55B2A0-PLC-0003 | A | P | 4 20 mA
55B2A0-MT-0002:TT-CCC | Signal from temperature sensor to PLC | 55B2A0-PLC-0003 | A | P | 4 20 mA
55B2B0-DEL-0011:RT-CRL | Signal from diamond detector to preamplifier | 55B2B0-AMP-0001 | A | P | 0 +10 V
55B2B0-DEL-0012:RT-CRL | Signal from diamond detector to preamplifier | 55B2B0-AMP-0001 | A | P | 0 +10 V
55B2B0-DEL-0013:RT-CRL | Signal from fission chamber to preamplifier | 55B2B0-AMP-0002 | A | P | 0 +10 V
55B2B0-DEL-0014:RT-CRL | Signal from fission chamber to preamplifier | 55B2B0-AMP-0002 | A | P | 0 +10 V
55B2B0-DEL-0021:RT-CRL | Signal from diamond detector to preamplifier | 55B2B0-AMP-0001 | A | P | 0 +10 V
55B2B0-DEL-0022:RT-CRL | Signal from diamond detector to preamplifier | 55B2B0-AMP-0001 | A | P | 0 +10 V
55B2B0-DEL-0023:RT-CRL | Signal from fission chamber to preamplifier | 55B2B0-AMP-0002 | A | P | 0 +10 V
55B2B0-DEL-0024:RT-CRL | Signal from fission chamber to preamplifier | 55B2B0-AMP-0002 | A | P | 0 +10 V
55B2B0-DEL-0031:RT-CRL | Signal from diamond detector to preamplifier | 55B2B0-AMP-0003 | A | P | 0 +10 V
55B2B0-DEL-0032:RT-CRL | Signal from diamond detector to preamplifier | 55B2B0-AMP-0003 | A | P | 0 +10 V
55B2B0-DEL-0033:RT-CRL | Signal from fission chamber to preamplifier | 55B2B0-AMP-0004 | A | P | 0 +10 V
55B2B0-DEL-0034:RT-CRL | Signal from fission chamber to preamplifier | 55B2B0-AMP-0004 | A | P | 0 +10 V
55B2B0-DEL-0041:RT-CRL | Signal from diamond detector to preamplifier | 55B2B0-AMP-0003 | A | P | 0 +10 V
55B2B0-DEL-0042:RT-CRL | Signal from diamond detector to preamplifier | 55B2B0-AMP-0003 | A | P | 0 +10 V
55B2B0-DEL-0043:RT-CRL | Signal from fission chamber to preamplifier | 55B2B0-AMP-0004 | A | P | 0 +10 V
55B2B0-DEL-0044:RT-CRL | Signal from fission chamber to preamplifier | 55B2B0-AMP-0004 | A | P | 0 +10 V
55B2B0-DEL-0051:RT-CRL | Signal from diamond detector to preamplifier | 55B2B0-AMP-0005 | A | P | 0 +10 V
55B2B0-DEL-0052:RT-CRL | Signal from diamond detector to preamplifier | 55B2B0-AMP-0005 | A | P | 0 +10 V
55B2B0-DEL-0053:RT-CRL | Signal from fission chamber to preamplifier | 55B2B0-AMP-0006 | A | P | 0 +10 V
55B2B0-DEL-0054:RT-CRL | Signal from fission chamber to preamplifier | 55B2B0-AMP-0006 | A | P | 0 +10 V
55B2B0-DEL-0061:RT-CRL | Signal from diamond detector to preamplifier | 55B2B0-AMP-0005 | A | P | 0 +10 V
55B2B0-DEL-0062:RT-CRL | Signal from diamond detector to preamplifier | 55B2B0-AMP-0005 | A | P | 0 +10 V
55B2B0-DEL-0063:RT-CRL | Signal from fission chamber to preamplifier | 55B2B0-AMP-0006 | A | P | 0 +10 V
55B2B0-DEL-0064:RT-CRL | Signal from fission chamber to preamplifier | 55B2B0-AMP-0006 | A | P | 0 +10 V
55B2B0-AMP-0001:ET1-CCC | Signal from preamplifier to FOT module | 55B2B0-RCK-0007 | A | P | 0 +10 V
55B2B0-AMP-0001:ET2-CCC | Signal from preamplifier to FOT module | 55B2B0-RCK-0007 | A | P | 0 +10 V
55B2B0-AMP-0001:ET3-CCC | Signal from preamplifier to FOT module | 55B2B0-RCK-0007 | A | P | 0 +10 V
55B2B0-AMP-0001:ET4-CCC | Signal from preamplifier to FOT module | 55B2B0-RCK-0007 | A | P | 0 +10 V
55B2B0-AMP-0002:ET1-CCC | Signal from preamplifier to FOT module | 55B2B0-RCK-0008 | A | P | 0 +10 V
55B2B0-AMP-0002:ET2-CCC | Signal from preamplifier to FOT module | 55B2B0-RCK-0008 | A | P | 0 +10 V
55B2B0-AMP-0002:ET3-CCC | Signal from preamplifier to FOT module | 55B2B0-RCK-0008 | A | P | 0 +10 V
55B2B0-AMP-0002:ET4-CCC | Signal from preamplifier to FOT module | 55B2B0-RCK-0008 | A | P | 0 +10 V
55B2B0-AMP-0003:ET1-CCC | Signal from preamplifier to FOT module | 55B2B0-RCK-0009 | A | P | 0 +10 V
55B2B0-AMP-0003:ET2-CCC | Signal from preamplifier to FOT module | 55B2B0-RCK-0009 | A | P | 0 +10 V
55B2B0-AMP-0003:ET3-CCC | Signal from preamplifier to FOT module | 55B2B0-RCK-0009 | A | P | 0 +10 V
55B2B0-AMP-0003:ET4-CCC | Signal from preamplifier to FOT module | 55B2B0-RCK-0009 | A | P | 0 +10 V
55B2B0-AMP-0004:ET1-CCC | Signal from preamplifier to FOT module | 55B2B0-RCK-0010 | A | P | 0 +10 V
55B2B0-AMP-0004:ET2-CCC | Signal from preamplifier to FOT module | 55B2B0-RCK-0010 | A | P | 0 +10 V
55B2B0-AMP-0004:ET3-CCC | Signal from preamplifier to FOT module | 55B2B0-RCK-0010 | A | P | 0 +10 V
55B2B0-AMP-0004:ET4-CCC | Signal from preamplifier to FOT module | 55B2B0-RCK-0010 | A | P | 0 +10 V
55B2B0-AMP-0005:ET1-CCC | Signal from preamplifier to FOT module | 55B2B0-RCK-0011 | A | P | 0 +10 V
55B2B0-AMP-0005:ET2-CCC | Signal from preamplifier to FOT module | 55B2B0-RCK-0011 | A | P | 0 +10 V
55B2B0-AMP-0005:ET3-CCC | Signal from preamplifier to FOT module | 55B2B0-RCK-0011 | A | P | 0 +10 V
55B2B0-AMP-0005:ET4-CCC | Signal from preamplifier to FOT module | 55B2B0-RCK-0011 | A | P | 0 +10 V
55B2B0-AMP-0006:ET1-CCC | Signal from preamplifier to FOT module | 55B2B0-RCK-0012 | A | P | 0 +10 V
55B2B0-AMP-0006:ET2-CCC | Signal from preamplifier to FOT module | 55B2B0-RCK-0012 | A | P | 0 +10 V
55B2B0-AMP-0006:ET3-CCC | Signal from preamplifier to FOT module | 55B2B0-RCK-0012 | A | P | 0 +10 V
55B2B0-AMP-0006:ET4-CCC | Signal from preamplifier to FOT module | 55B2B0-RCK-0012 | A | P | 0 +10 V
55B2B0-PSU-0001:EREF-CCH | Analog signal from Control Module to preamplifier | 55B2B0-AMP-0001 | A | P | 0 +10 V
55B2B0-PSU-0002:EREF-CCH | Analog signal from Control Module to preamplifier | 55B2B0-AMP-0002 | A | P | 0 +10 V
55B2B0-PSU-0003:EREF-CCH | Analog signal from Control Module to preamplifier | 55B2B0-AMP-0003 | A | P | 0 +10 V
55B2B0-PSU-0004:EREF-CCH | Analog signal from Control Module to preamplifier | 55B2B0-AMP-0004 | A | P | 0 +10 V
55B2B0-PSU-0005:EREF-CCH | Analog signal from Control Module to preamplifier | 55B2B0-AMP-0005 | A | P | 0 +10 V
55B2B0-PSU-0006:EREF-CCH | Analog signal from Control Module to preamplifier | 55B2B0-AMP-0006 | A | P | 0 +10 V
55B2B0-PSU-0001:CREF-CCC | Digital signal From control Module to preamplifier | 55B2B0-AMP-0001 | D | P | 24 V DC
55B2B0-PSU-0002:CREF-CCC | Digital signal From control Module to preamplifier | 55B2B0-AMP-0002 | D | P | 24 V DC
55B2B0-PSU-0003:CREF-CCC | Digital signal From control Module to preamplifier | 55B2B0-AMP-0003 | D | P | 24 V DC
55B2B0-PSU-0004:CREF-CCC | Digital signal From control Module to preamplifier | 55B2B0-AMP-0004 | D | P | 24 V DC
55B2B0-PSU-0005:CREF-CCC | Digital signal From control Module to preamplifier | 55B2B0-AMP-0005 | D | P | 24 V DC
55B2B0-PSU-0006:CREF-CCC | Digital signal From control Module to preamplifier | 55B2B0-AMP-0006 | D | P | 24 V DC
55B2B0-PSU-0001:EREF-CCH | Analog signal from preamplifier to Control module | 55B2B0-AMP-0001 | A | P | 0 +10 V
55B2B0-PSU-0002:EREF-CCH | Analog signal from preamplifier to Control module | 55B2B0-AMP-0002 | A | P | 0 +10 V
55B2B0-PSU-0003:EREF-CCH | Analog signal from preamplifier to Control module | 55B2B0-AMP-0003 | A | P | 0 +10 V
55B2B0-PSU-0004:EREF-CCH | Analog signal from preamplifier to Control module | 55B2B0-AMP-0004 | A | P | 0 +10 V
55B2B0-PSU-0005:EREF-CCH | Analog signal from preamplifier to Control module | 55B2B0-AMP-0005 | A | P | 0 +10 V
55B2B0-PSU-0006:EREF-CCH | Analog signal from preamplifier to Control module | 55B2B0-AMP-0006 | A | P | 0 +10 V
55B2B0-PSU-0001:CREF-CCH | Digital signal from preamplifier to Control Module | 55B2B0-AMP-0001 | D | P | 24 V DC
55B2B0-PSU-0002:CREF-CCH | Digital signal from preamplifier to Control Module | 55B2B0-AMP-0002 | D | P | 24 V DC
55B2B0-PSU-0003:CREF-CCH | Digital signal from preamplifier to Control Module | 55B2B0-AMP-0003 | D | P | 24 V DC
55B2B0-PSU-0004:CREF-CCH | Digital signal from preamplifier to Control Module | 55B2B0-AMP-0004 | D | P | 24 V DC
55B2B0-PSU-0005:CREF-CCH | Digital signal from preamplifier to Control Module | 55B2B0-AMP-0005 | D | P | 24 V DC
55B2B0-PSU-0006:CREF-CCH | Digital signal from preamplifier to Control Module | 55B2B0-AMP-0006 | D | P | 24 V DC
55B2B0-PLC-0002:EREF1-CCC | Analog signal from PLC to Control Module | 55B2B0-PSU-0001 | A | P | 0 +10 V
55B2B0-PLC-0002:EREF2-CCC | Analog signal from PLC to Control Module | 55B2B0-PSU-0002 | A | P | 0 +10 V
55B2B0-PLC-0002:EREF3-CCC | Analog signal from PLC to Control Module | 55B2B0-PSU-0003 | A | P | 0 +10 V
55B2B0-PLC-0002:EREF4-CCC | Analog signal from PLC to Control Module | 55B2B0-PSU-0004 | A | P | 0 +10 V
55B2B0-PLC-0002:EREF5-CCC | Analog signal from PLC to Control Module | 55B2B0-PSU-0005 | A | P | 0 +10 V
55B2B0-PLC-0002:EREF6-CCC | Analog signal from PLC to Control Module | 55B2B0-PSU-0006 | A | P | 0 +10 V
55B2B0-PLC-0002:CREF1-CCC | Digital signal from PLC to Control Module | 55B2B0-PSU-0001 | D | P | 24 V DC
55B2B0-PLC-0002:CREF2-CCC | Digital signal from PLC to Control Module | 55B2B0-PSU-0002 | D | P | 24 V DC
55B2B0-PLC-0002:CREF3-CCC | Digital signal from PLC to Control Module | 55B2B0-PSU-0003 | D | P | 24 V DC
55B2B0-PLC-0002:CREF4-CCC | Digital signal from PLC to Control Module | 55B2B0-PSU-0004 | D | P | 24 V DC
55B2B0-PLC-0002:CREF5-CCC | Digital signal from PLC to Control Module | 55B2B0-PSU-0005 | D | P | 24 V DC
55B2B0-PLC-0002:CREF6-CCC | Digital signal from PLC to Control Module | 55B2B0-PSU-0006 | D | P | 24 V DC
55B2B0-PSU-0001:EREF-CCC | Analog signal from Control Module to PLC | 55B2B0-PLC-0002 | A | P | 0 +10 V
55B2B0-PSU-0002:EREF-CCC | Analog signal from Control Module to PLC | 55B2B0-PLC-0002 | A | P | 0 +10 V
55B2B0-PSU-0003:EREF-CCC | Analog signal from Control Module to PLC | 55B2B0-PLC-0002 | A | P | 0 +10 V
55B2B0-PSU-0004:EREF-CCC | Analog signal from Control Module to PLC | 55B2B0-PLC-0002 | A | P | 0 +10 V
55B2B0-PSU-0005:EREF-CCC | Analog signal from Control Module to PLC | 55B2B0-PLC-0002 | A | P | 0 +10 V
55B2B0-PSU-0006:EREF-CCC | Analog signal from Control Module to PLC | 55B2B0-PLC-0002 | A | P | 0 +10 V
55B2B0-PSU-0001:CREF-CCC | Digital signal from Control Module to PLC | 55B2B0-PLC-0002 | D | P | 24 V DC
55B2B0-PSU-0002:CREF-CCC | Digital signal from Control Module to PLC | 55B2B0-PLC-0002 | D | P | 24 V DC
55B2B0-PSU-0003:CREF-CCC | Digital signal from Control Module to PLC | 55B2B0-PLC-0002 | D | P | 24 V DC
55B2B0-PSU-0004:CREF-CCC | Digital signal from Control Module to PLC | 55B2B0-PLC-0002 | D | P | 24 V DC
55B2B0-PSU-0005:CREF-CCC | Digital signal from Control Module to PLC | 55B2B0-PLC-0002 | D | P | 24 V DC
55B2B0-PSU-0006:CREF-CCC | Digital signal from Control Module to PLC | 55B2B0-PLC-0002 | D | P | 24 V DC
55B2B0-PLC-0002:ET-CCC | Signal from PLC to PON |  | A | P | -1 +1 V
55B2B0-RCK-0007:ET1-CCC | Signal from FOT to FOR | 55B2B0-RCK-0001 | A | P | -1 +1 V
55B2B0-RCK-0007:ET2-CCC | Signal from FOT to FOR | 55B2B0-RCK-0001 | A | P | -1 +1 V
55B2B0-RCK-0007:ET3-CCC | Signal from FOT to FOR | 55B2B0-RCK-0001 | A | P | -1 +1 V
55B2B0-RCK-0007:ET4-CCC | Signal from FOT to FOR | 55B2B0-RCK-0001 | A | P | -1 +1 V
55B2B0-RCK-0008:ET1-CCC | Signal from FOT to FOR | 55B2B0-RCK-0002 | A | P | -1 +1 V
55B2B0-RCK-0008:ET2-CCC | Signal from FOT to FOR | 55B2B0-RCK-0002 | A | P | -1 +1 V
55B2B0-RCK-0008:ET3-CCC | Signal from FOT to FOR | 55B2B0-RCK-0002 | A | P | -1 +1 V
55B2B0-RCK-0008:ET4-CCC | Signal from FOT to FOR | 55B2B0-RCK-0002 | A | P | -1 +1 V
55B2B0-RCK-0009:ET1-CCC | Signal from FOT to FOR | 55B2B0-RCK-0003 | A | P | -1 +1 V
55B2B0-RCK-0009:ET2-CCC | Signal from FOT to FOR | 55B2B0-RCK-0003 | A | P | -1 +1 V
55B2B0-RCK-0009:ET3-CCC | Signal from FOT to FOR | 55B2B0-RCK-0003 | A | P | -1 +1 V
55B2B0-RCK-0009:ET4-CCC | Signal from FOT to FOR | 55B2B0-RCK-0003 | A | P | -1 +1 V
55B2B0-RCK-0010:ET1-CCC | Signal from FOT to FOR | 55B2B0-RCK-0004 | A | P | -1 +1 V
55B2B0-RCK-0010:ET2-CCC | Signal from FOT to FOR | 55B2B0-RCK-0004 | A | P | -1 +1 V
55B2B0-RCK-0010:ET3-CCC | Signal from FOT to FOR | 55B2B0-RCK-0004 | A | P | -1 +1 V
55B2B0-RCK-0010:ET4-CCC | Signal from FOT to FOR | 55B2B0-RCK-0004 | A | P | -1 +1 V
55B2B0-RCK-0011:ET1-CCC | Signal from FOT to FOR | 55B2B0-RCK-0005 | A | P | -1 +1 V
55B2B0-RCK-0011:ET2-CCC | Signal from FOT to FOR | 55B2B0-RCK-0005 | A | P | -1 +1 V
55B2B0-RCK-0011:ET3-CCC | Signal from FOT to FOR | 55B2B0-RCK-0005 | A | P | -1 +1 V
55B2B0-RCK-0011:ET4-CCC | Signal from FOT to FOR | 55B2B0-RCK-0005 | A | P | -1 +1 V
55B2B0-RCK-0012:ET1-CCC | Signal from FOT to FOR | 55B2B0-RCK-0006 | A | P | -1 +1 V
55B2B0-RCK-0012:ET2-CCC | Signal from FOT to FOR | 55B2B0-RCK-0006 | A | P | -1 +1 V
55B2B0-RCK-0012:ET3-CCC | Signal from FOT to FOR | 55B2B0-RCK-0006 | A | P | -1 +1 V
55B2B0-RCK-0012:ET4-CCC | Signal from FOT to FOR | 55B2B0-RCK-0006 | A | P | -1 +1 V
55B2B0-RCK-0001:ET1-CCC | Signal from FOR to ADC | 55B2B0-IOB-0007 | A | P | -1 +1 V
55B2B0-RCK-0001:ET2-CCC | Signal from FOR to ADC | 55B2B0-IOB-0007 | A | P | -1 +1 V
55B2B0-RCK-0001:ET3-CCC | Signal from FOR to ADC | 55B2B0-IOB-0009 | A | P | -1 +1 V
55B2B0-RCK-0001:ET4-CCC | Signal from FOR to ADC | 55B2B0-IOB-0009 | A | P | -1 +1 V
55B2B0-RCK-0002:ET1-CCC | Signal from FOR to ADC | 55B2B0-IOB-0010 | A | P | -1 +1 V
55B2B0-RCK-0002:ET2-CCC | Signal from FOR to ADC | 55B2B0-IOB-0010 | A | P | -1 +1 V
55B2B0-RCK-0002:ET3-CCC | Signal from FOR to ADC | 55B2B0-IOB-0010 | A | P | -1 +1 V
55B2B0-RCK-0002:ET4-CCC | Signal from FOR to ADC | 55B2B0-IOB-0010 | A | P | -1 +1 V
55B2B0-RCK-0003:ET1-CCC | Signal from FOR to ADC | 55B2B0-IOB-0017 | A | P | -1 +1 V
55B2B0-RCK-0003:ET2-CCC | Signal from FOR to ADC | 55B2B0-IOB-0017 | A | P | -1 +1 V
55B2B0-RCK-0003:ET3-CCC | Signal from FOR to ADC | 55B2B0-IOB-0019 | A | P | -1 +1 V
55B2B0-RCK-0003:ET4-CCC | Signal from FOR to ADC | 55B2B0-IOB-0019 | A | P | -1 +1 V
55B2B0-RCK-0004:ET1-CCC | Signal from FOR to ADC | 55B2B0-IOB-0020 | A | P | -1 +1 V
55B2B0-RCK-0004:ET2-CCC | Signal from FOR to ADC | 55B2B0-IOB-0020 | A | P | -1 +1 V
55B2B0-RCK-0004:ET3-CCC | Signal from FOR to ADC | 55B2B0-IOB-0020 | A | P | -1 +1 V
55B2B0-RCK-0004:ET4-CCC | Signal from FOR to ADC | 55B2B0-IOB-0020 | A | P | -1 +1 V
55B2B0-RCK-0005:ET1-CCC | Signal from FOR to ADC | 55B2B0-IOB-0027 | A | P | -1 +1 V
55B2B0-RCK-0005:ET2-CCC | Signal from FOR to ADC | 55B2B0-IOB-0027 | A | P | -1 +1 V
55B2B0-RCK-0005:ET3-CCC | Signal from FOR to ADC | 55B2B0-IOB-0029 | A | P | -1 +1 V
55B2B0-RCK-0005:ET4-CCC | Signal from FOR to ADC | 55B2B0-IOB-0029 | A | P | -1 +1 V
55B2B0-RCK-0006:ET1-CCC | Signal from FOR to ADC | 55B2B0-IOB-0030 | A | P | -1 +1 V
55B2B0-RCK-0006:ET2-CCC | Signal from FOR to ADC | 55B2B0-IOB-0030 | A | P | -1 +1 V
55B2B0-RCK-0006:ET3-CCC | Signal from FOR to ADC | 55B2B0-IOB-0030 | A | P | -1 +1 V
55B2B0-RCK-0006:ET4-CCC | Signal from FOR to ADC | 55B2B0-IOB-0030 | A | P | -1 +1 V
55B2B0-IOB-0004:ET-CCC | Signal from NI Chassis to PCF CPU | 55B2B0-IOB-0001 | A | P | -1 +1 V
55B2B0-IOB-0014:ET-CCC | Signal from NI Chassis to PCF CPU | 55B2B0-IOB-0011 | A | P | -1 +1 V
55B2B0-IOB-0024:ET-CCC | Signal from NI Chassis to PCF CPU | 55B2B0-IOB-0021 | A | P | -1 +1 V
55B2B0-PCF-0001:ET1-CCC | Signal from PCF CPU to TCN | 55B2B0-SWT-0002 | A | P | -1 +1 V
55B2B0-PCF-0002:ET1-CCC | Signal from PCF CPU to TCN | 55B2B0-SWT-0003 | A | P | -1 +1 V
55B2B0-PCF-0003:ET1-CCC | Signal from PCF CPU to TCN | 55B2B0-SWT-0003 | A | P | -1 +1 V
55B2B0-PCF-0001:ET2-CCC | Signal from PCF CPU to SDN | 55B2B0-SWT-0002 | A | P | -1 +1 V
55B2B0-PCF-0002:ET2-CCC | Signal from PCF CPU to SDN | 55B2B0-SWT-0003 | A | P | -1 +1 V
55B2B0-PCF-0003:ET2-CCC | Signal from PCF CPU to SDN | 55B2B0-SWT-0003 | A | P | -1 +1 V
55B2B0-PCF-0001:ET3-CCC | Signal from PCF CPU to DAN | 55B2B0-SWT-0002 | A | P | -1 +1 V
55B2B0-PCF-0002:ET3-CCC | Signal from PCF CPU to DAN | 55B2B0-SWT-0003 | A | P | -1 +1 V
55B2B0-PCF-0003:ET3-CCC | Signal from PCF CPU to DAN | 55B2B0-SWT-0003 | A | P | -1 +1 V
55B2B0-PCF-0001:ET4-CCC | Signal from PCF to PON | 55B2B0-SWT-0002 | A | P | -1 +1 V
55B2B0-PCF-0002:ET4-CCC | Signal from PCF to PON | 55B2B0-SWT-0003 | A | P | -1 +1 V
55B2B0-PCF-0003:ET4-CCC | Signal from PCF to PON | 55B2B0-SWT-0003 | A | P | -1 +1 V
55B2B0-PLC-0003:ET-CCC | Signal from Cubicle monitoring to PON | 55B2B0-SWT-0002 | A | P | -1 +1 V
55B2B0-PLC-0001:ET-CCC | Signal from Cubicle monitoring to PON | 55B2B0-SWT-0003 | A | P | -1 +1 V
55B2B0-MT-0001:TT-CCC | Signal from temperature sensor to PLC | 55B2B0-PLC-0002 | A | P | 4 20 mA
55B2B0-MT-0002:TT-CCC | Signal from temperature sensor to PLC | 55B2B0-PLC-0002 | A | P | 4 20 mA