## Control units
CONTROL UNIT NAME* | DESCRIPTION | TTT* | REDUNDANT PLC | PSIC/SUBSYSTEM NAME* | PBS L1 | IP NAME | PLC EPICS IOC | SERIAL NUMBER | INTERLOCK PLC
55B2A0-PSH-0001 | Virtual Host for PSH | PSH | false | D1-I2 | 55 | 55B2A0-PSH-0001.codac.iter.org, 55B2A0-PSH-0001-T1.codac.iter.org |  |  | FALSE
55B2A0-PCF-0004 | Fast Controller CPU Chassis (IPC) | PCF | FALSE | D1-I2 | 55 | 55B2A0-PCF-0004.codac.iter.org, 55B2A0-PCF-0004-T1.codac.iter.org |  |  | FALSE
55B2A0-PCF-0005 | Fast Controller CPU Chassis (IPC) | PCF | FALSE | D1-I2 | 55 | 55B2A0-PCF-0005.codac.iter.org, 55B2A0-PCF-0005-T1.codac.iter.org |  |  | FALSE
55B2A0-PCF-0006 | Fast Controller CPU Chassis (IPC) | PCF | FALSE | D1-I2 | 55 | 55B2A0-PCF-0006.codac.iter.org, 55B2A0-PCF-0006-T1.codac.iter.org |  |  | FALSE
55B2B0-PCF-0001 | Fast Controller CPU Chassis (IPC) | PCF | FALSE | D1-I2 | 55 | 55B2B0-PCF-0001.codac.iter.org, 55B2B0-PCF-0001-T1.codac.iter.org |  |  | FALSE
55B2B0-PCF-0002 | Fast Controller CPU Chassis (IPC) | PCF | FALSE | D1-I2 | 55 | 55B2B0-PCF-0001.codac.iter.org, 55B2B0-PCF-0002-T1.codac.iter.org |  |  | FALSE
55B2B0-PCF-0003 | Fast Controller CPU Chassis (IPC) | PCF | FALSE | D1-I2 | 55 | 55B2B0-PCF-0001.codac.iter.org, 55B2B0-PCF-0003-T1.codac.iter.org |  |  | FALSE
55B2A0-PLC-0001 | Cubicle monitoring system PLC | PLC | FALSE | D1-I2 | 55 | 55B2A0-PLC-0001.codac.iter.org |  |  | FALSE
55B2A0-PLC-0002 | Cubicle monitoring system PLC | PLC | FALSE | D1-I2 | 55 | 55B2A0-PLC-0002.codac.iter.org |  |  | FALSE
55B2A0-PLC-0003 | Siemens Controller SIMATIC S7-1500 | PLC | FALSE | D1-I2 | 55 | 55B2A0-PLC-0003.codac.iter.org |  |  | FALSE
55B2B0-PLC-0001 | Cubicle monitoring system PLC | PLC | FALSE | D1-I2 | 55 | 55B2B0-PLC-0001.codac.iter.org |  |  | FALSE
55B2B0-PLC-0003 | Cubicle monitoring system PLC | PLC | FALSE | D1-I2 | 55 | 55B2B0-PLC-0002.codac.iter.org |  |  | FALSE
55B2B0-PLC-0002 | Siemens Controller SIMATIC S7-1500 | PLC | FALSE | D1-I2 | 55 | 55B2B0-PLC-0003.codac.iter.org |  |  | FALSE

## IO Modules
I/O MODULE NAME* | DESCRIPTION | INDEX | I/O MODULE TYPE* | CONTROL UNIT NAME | SERIAL NUMBER
55B2A0-IOB-0005 | Timing module |  | NI PXI-6683H | 55B2A0-PCF-0004
55B2A0-IOB-0014 | Timing module |  | NI PXI-6683H | 55B2A0-PCF-0005
55B2A0-IOB-0024 | Timing module |  | NI PXI-6683H | 55B2A0-PCF-0006
55B2B0-IOB-0005 | Timing module |  | NI PXI-6683H | 55B2B0-PCF-0001
55B2B0-IOB-0015 | Timing module |  | NI PXI-6683H | 55B2B0-PCF-0002
55B2B0-IOB-0025 | Timing module |  | NI PXI-6683H | 55B2B0-PCF-0003
55B2A0-IOB-0019 | Data Acquisition board for fission chambers |  | NI PXI-5763 | 55B2A0-PCF-0006
55B2A0-IOB-0029 | Data Acquisition board for fission chambers |  | NI PXI-5763 | 55B2A0-PCF-0005
55B2A0-IOB-0009 | Data Acquisition board for fission chambers |  | NI PXI-5763 | 55B2A0-PCF-0004
55B2B0-IOB-0020 | Data Acquisition board for fission chambers |  | NI PXI-5763 | 55B2B0-PCF-0002
55B2B0-IOB-0010 | Data Acquisition board for fission chambers |  | NI PXI-5763 | 55B2B0-PCF-0001
55B2B0-IOB-0030 | Data Acquisition board for fission chambers |  | NI PXI-5763 | 55B2B0-PCF-0003
55B2A0-IOB-0016 | Data Acquisition board for diamond detectors |  | 7976RNI5772 | 55B2A0-PCF-0005
55B2A0-IOB-0018 | Data Acquisition board for diamond detectors |  | 7976RNI5772 | 55B2A0-PCF-0006
55B2A0-IOB-0006 | Data Acquisition board for diamond detectors |  | 7976RNI5772 | 55B2A0-PCF-0004
55B2A0-IOB-0026 | Data Acquisition board for diamond detectors |  | 7976RNI5772 | 55B2A0-PCF-0005
55B2A0-IOB-0030 | Data Acquisition board for diamond detectors |  | 7976RNI5772 | 55B2A0-PCF-0004
55B2A0-IOB-0028 | Data Acquisition board for diamond detectors |  | 7976RNI5772 | 55B2A0-PCF-0006
55B2B0-IOB-0007 | Data Acquisition board for diamond detectors |  | 7976RNI5772 | 55B2B0-PCF-0001
55B2B0-IOB-0017 | Data Acquisition board for diamond detectors |  | 7976RNI5772 | 55B2B0-PCF-0002
55B2B0-IOB-0019 | Data Acquisition board for diamond detectors |  | 7976RNI5772 | 55B2B0-PCF-0002
55B2B0-IOB-0009 | Data Acquisition board for diamond detectors |  | 7976RNI5772 | 55B2B0-PCF-0001
55B2B0-IOB-0027 | Data Acquisition board for diamond detectors |  | 7976RNI5772 | 55B2B0-PCF-0003
55B2B0-IOB-0029 | Data Acquisition board for diamond detectors |  | 7976RNI5772 | 55B2B0-PCF-0003
Data Acquisition board for diamond detectors

## POCs with CA
NAME* | DESCRIPTION | MODEL* | TTT* | PBS L1 | SERIAL NUMBER | PSIC NAME

## POCs without CA
NAME* | DESCRIPTION | MODEL* | TTT* | PBS L1 | SERIAL NUMBER | PSIC NAME | EPICS IOC HOST