## Variables
VARIABLE NAME* | DESCRIPTION | VARIABLE TYPE* | FUNCTION NAME* | DEPLOYMENT UNIT NAME | IOC NAME | I/O MODULE NAME | CATEGORY | STORAGE SPECIFIER | DATA TYPE | SIGNAL NAME | EXTERNAL | HMI VISIBILITY | ALARM ENABLED | ARCHIVING ENABLED | RECORD TYPE | beast:annunciating | beast:delay | beast:description | beast:details | beast:display1¦details | beast:display1¦title | beast:guidance1¦details | beast:guidance1¦title | beast:guidance2¦details | beast:guidance2¦title | beast:guidance3¦details | beast:guidance3¦title | beast:guidance4¦details | beast:guidance4¦title | beast:latching | beast:title | beauty:archivingSamplingFrequency | beauty:archivingSamplingMode | beauty:groupEnabledArchivingPV | epics:ADEL | epics:BRSV | epics:CALC | epics:DESC | epics:DTYP | epics:EGU | epics:EIST | epics:EISV | epics:EIVL | epics:ELST | epics:ELSV | epics:ELVL | epics:FFST | epics:FFSV | epics:FFVL | epics:FLNK | epics:FRST | epics:FRSV | epics:FRVL | epics:FTST | epics:FTSV | epics:FTVL | epics:FVST | epics:FVSV | epics:FVVL | epics:HHSV | epics:HIGH | epics:HIHI | epics:HOPR | epics:HSV | epics:HYST | epics:INP | epics:INPA | epics:INPB | epics:INPC | epics:INPD | epics:INPE | epics:INPF | epics:L | epics:LOPR | epics:MDEL | epics:NELM | epics:NIST | epics:NISV | epics:NIVL | epics:ONST | epics:ONSV | epics:ONVL | epics:PHAS | epics:PINI | epics:PREC | epics:SCAN | epics:SEVR | epics:SIZV | epics:SNAM | epics:STAT | epics:SVST | epics:SVSV | epics:SVVL | epics:SXST | epics:SXSV | epics:SXVL | epics:TEST | epics:TESV | epics:TEVL | epics:THST | epics:THSV | epics:THVL | epics:TTST | epics:TTSV | epics:TTVL | epics:TVST | epics:TVSV | epics:TVVL | epics:TWST | epics:TWSV | epics:TWVL | epics:UNSV | epics:VAL | epics:ZRST | epics:ZRSV | epics:ZRVL | pulse_scheduling:isConfiguredByPulseScheduling
D1-I2-B2A0-GLB-PCS:CO-ST-00-0000-STREPNNPEN | Connection status with Plasma Control System | PONFROMCONVENTIONAL | D1-I2-B2A0-GLB-PCS | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-GLB-DIG:ID-CO-ST-0000-STREPNNPEN | Connection status with In Vessel Neutron Calibration system | PONFROMCONVENTIONAL | D1-I2-B2A0-GLB-DIG | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-GLB-DIG:NE-CO-ST-0000-STREPNNPEN | 55NEX0 System Status | PONFROMCONVENTIONAL | D1-I2-B2A0-GLB-DIG | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-GLB-COD:CN-ST-00-0000-STREPNNPEN | Connection status with PBS 45 (CODAC) | PONFROMCONVENTIONAL | D1-I2-B2A0-GLB-COD | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-GLB-COD:AV-ST-00-0000-STREPNNPEN | Status of avaliability of CODAC services | PONFROMCONVENTIONAL | D1-I2-B2A0-GLB-COD | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-SGC-DSP:FL-C1-FT-0000-STSEPNNPEN | Digital filter type for input signal | PONFROMCONVENTIONAL | D1-I2-B2A0-SGC-DSP | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-SGC-DSP:FL-C1-FС-0000-CGSEPNNPEN | Digital filter configuration parameter | PONFROMCONVENTIONAL | D1-I2-B2A0-SGC-DSP | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-DAQ-ADC:D1-DP-EF-0000-ERREPNNPEN | FIIFO Overflow error for diamond detector raw data | PONFROMCONVENTIONAL | D1-I2-B2A0-DAQ-ADC | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-IOB-0004:ET-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-DAQ-ADC:D1-DP-FC-0000-CGRWPNNPSP | FIFO configuration for diamond detector raw data | PONFROMCONVENTIONAL | D1-I2-B2A0-DAQ-ADC | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-IOB-0004:ET-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-DAQ-ADC:D1-DP-RD-0000-MUREDNNPRB | Raw data of diamond detector | PONFROMCONVENTIONAL | D1-I2-B2A0-DAQ-ADC | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET3-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-DAQ-ADC:D1-FP-EF-0000-ERREPNNPEN | FIIFO Overflow error for fission chamber raw data | PONFROMCONVENTIONAL | D1-I2-B2A0-DAQ-ADC | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-IOB-0004:ET-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-DAQ-ADC:D1-FP-FC-0000-CGRWPNNPSP | FIFO configuration for fission chamber raw data | PONFROMCONVENTIONAL | D1-I2-B2A0-DAQ-ADC | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-IOB-0004:ET-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-DAQ-ADC:D1-FP-RD-0000-MUREDNNPRB | Raw data of fission chamber | PONFROMCONVENTIONAL | D1-I2-B2A0-DAQ-ADC | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET3-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-DAQ-ADC:C1-SM-EB-0000-CGRWPNNPSP | Energy Spectrum Buffer Size | PONFROMCONVENTIONAL | D1-I2-B2A0-DAQ-ADC | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-IOB-0004:ET-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-DAQ-ADC:C1-SM-CB-0000-CGRWPNNPSP | Charge Spectrum Buffer Size | PONFROMCONVENTIONAL | D1-I2-B2A0-DAQ-ADC | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-IOB-0004:ET-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-DAQ-ADC:C1-OM-OC-0000-CGRWPNNPSP | Configuration of oscillograph data buffers | PONFROMCONVENTIONAL | D1-I2-B2A0-DAQ-ADC | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-IOB-0004:ET-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-DAQ-PPC:D1-DP-PT-0000-CGSEPNVOSP | Threshold for diamond detector signal | PONFROMCONVENTIONAL | D1-I2-B2A0-DAQ-PPC | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-IOB-0004:ET-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-DAQ-PPC:D1-DP-MX-0000-CGSEPNNPMX | max value for timing window of diamond detector signal | PONFROMCONVENTIONAL | D1-I2-B2A0-DAQ-ADC | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-IOB-0004:ET-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-DAQ-PPC:D1-DP-MN-0000-CGSEPNNPMN | min value for timing window of diamond detector signal | PONFROMCONVENTIONAL | D1-I2-B2A0-DAQ-ADC | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-IOB-0004:ET-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-DAQ-PPC:D1-FP-PT-0000-CGSEPNVOSP | Threshold for diamond detector signal | PONFROMCONVENTIONAL | D1-I2-B2A0-DAQ-PPC | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-IOB-0004:ET-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-DAQ-PPC:D1-FP-MX-0000-CGSEPNNPMX | max value for timing window of fission chamber signal | PONFROMCONVENTIONAL | D1-I2-B2A0-DAQ-ADC | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-IOB-0004:ET-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-DAQ-PPC:D1-FP-MN-0000-CGSEPNNPMN | min value for timing window of fission chamber signal | PONFROMCONVENTIONAL | D1-I2-B2A0-DAQ-ADC | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-IOB-0004:ET-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-DPC-CFG:D1-DD-CC-0000-CGRWPNNPVL | Configuration coefficient of diamond detector for plasma parameters calculation algorithms | PONFROMCONVENTIONAL | D1-I2-B2A0-DPC-CFG | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-DPC-CFG:D1-FC-CC-0000-CGRWPNNPVL | Configuration coefficient of fission chambers for plasma parameters calculation algorithms | PONFROMCONVENTIONAL | D1-I2-B2A0-DPC-CFG | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-DPC-CAL:D1-FF-NC-0000-CLRWPNNPVL | Normalizing coefficient for fission chamber fluctuation chain | PONFROMCONVENTIONAL | D1-I2-B2A0-DPC-CAL | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-DPC-MON:D1-DP-ST-0000-STRWPNNPEN | Stream state status of diamond detector signal | PONFROMCONVENTIONAL | D1-I2-B2A0-DPC-MON | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-DPC-MON:D1-FP-SR-0000-STRWPNNPEN | Stream state for fission chamber signal chain | PONFROMCONVENTIONAL | D1-I2-B2A0-DPC-MON | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-DPC-ANA:D1-DD-QP-DRMS-MRREPNVOVL | Root Mean Square of Diamond Detector Signal | PONFROMCONVENTIONAL | D1-I2-B2A0-DPC-ANA | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-DPC-ANA:D1-DD-QP-MXSV-MRREPNVOMX | Maximum Value of Diamond Detector Signal | PONFROMCONVENTIONAL | D1-I2-B2A0-DPC-ANA | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-DPC-ANA:D1-DD-QP-MNSV-MRREPNVOMN | Minimum Value of Diamond Detector Signal | PONFROMCONVENTIONAL | D1-I2-B2A0-DPC-ANA | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-DPC-ANA:D1-DD-QP-DSNR-MRREPNNPVL | Signal to Noise Ratio for diamond detector signal | PONFROMCONVENTIONAL | D1-I2-B2A0-DPC-ANA | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-DPC-ANA:D1-FI-QP-DRMS-MRREPNVOVL | Root Mean Square of Fission chamber pulse chain | PONFROMCONVENTIONAL | D1-I2-B2A0-DPC-ANA | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-DPC-ANA:D1-FI-QP-MXSV-MRREPNVOMX | Maximum Value of fission chamber pulse chain | PONFROMCONVENTIONAL | D1-I2-B2A0-DPC-ANA | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-DPC-ANA:D1-FI-QP-MNSV-MRREPNVOMN | Minimum Value of Fission Chamber Pulse chain | PONFROMCONVENTIONAL | D1-I2-B2A0-DPC-ANA | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-DPC-ANA:D1-FI-QP-DSNR-MRREPNVOVL | Signal to Noise Ratio for fission chamber pulse chain | PONFROMCONVENTIONAL | D1-I2-B2A0-DPC-ANA | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-DPC-MES:D1-DP-ER-0000-ERGEPNNPEI | Measurement Error Value for count rate calculation of diamond detector signal | PONFROMCONVENTIONAL | D1-I2-B2A0-DPC-MES | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-DPC-MES:D1-DP-CR-0000-MCREPNNPVL | Normalized Count Rate Value for diamond detector signal | PONFROMCONVENTIONAL | D1-I2-B2A0-DPC-MES | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-DPC-MES:D1-DP-AS-0000-MCREPNNPBF | Amplitude Spectrum Data for diamond detector signal | PONFROMCONVENTIONAL | D1-I2-B2A0-DPC-MES | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-DPC-MES:D1-DP-SR-0000-MCREPNNPVL | Amplitude Spectrum Resolution Value for diamond detector signal | PONFROMCONVENTIONAL | D1-I2-B2A0-DPC-MES | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-DPC-MES:D1-DP-PN-0000-MCREPNNPVL | Number of pulses value for diamond detector signal | PONFROMCONVENTIONAL | D1-I2-B2A0-DPC-MES | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-DPC-MES:C1-SM-CS-0000-MCREPNNPBF | Charge Spectrum Data for diamond detector signal | PONFROMCONVENTIONAL | D1-I2-B2A0-DPC-MES | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-DPC-MES:C1-SM-RE-0000-MCREPNNPVL | Charge spectrum resolution for diamond detector signal | PONFROMCONVENTIONAL | D1-I2-B2A0-DPC-MES | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-DPC-MES:D1-FP-ER-0000-ERGEPNNPEI | Measurement Error Value for count rate calculation of fission chamber signal (pulse chain) | PONFROMCONVENTIONAL | D1-I2-B2A0-DPC-MES | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-DPC-MES:D1-FP-NR-0000-MCREPNNPVL | Normalized Count Rate Value for fission chamber signal (pulse chain) | PONFROMCONVENTIONAL | D1-I2-B2A0-DPC-MES | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-DPC-MES:D1-FP-AS-0000-MCREPNNPBF | Amplitude Spectrum Data for fission chamber signal (pulse chain) | PONFROMCONVENTIONAL | D1-I2-B2A0-DPC-MES | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-DPC-MES:D1-FP-SR-0000-MCREPNNPVL | Amplitude Spectrum Resolution Value for fission chamber signal (pulse chain) | PONFROMCONVENTIONAL | D1-I2-B2A0-DPC-MES | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-DPC-MES:D1-FP-PN-0000-MCREPNNPVL | Number of pulses value for fission chamber signal (pulse chain) | PONFROMCONVENTIONAL | D1-I2-B2A0-DPC-MES | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-DPC-MES:D1-FF-ER-0000-ERGEPNNPEI | Measurement Error Value for count rate calcutation of fission chamber signal (fluctuation chain) | PONFROMCONVENTIONAL | D1-I2-B2A0-DPC-MES | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-DPC-MES:D1-FF-CR-0000-MCREPNNPVL | Normalized Count Rate Value for fission chamber signal (fluctuation chain) | PONFROMCONVENTIONAL | D1-I2-B2A0-DPC-MES | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-DME-BCO:PR-PD-ME-0000-MPREPNPWBF | Fusion power density measurement for PON | PONFROMCONVENTIONAL | D1-I2-B2A0-DME-BCO | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-DME-BCO:PR-PD-TS-0000-TMREPNNPVL | Timestamp of Fusion power density for PON | PONFROMCONVENTIONAL | D1-I2-B2A0-DME-BCO | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-DME-BCO:PR-PD-ER-0000-ERREPNNPVL | Error of fusion power density for PON | PONFROMCONVENTIONAL | D1-I2-B2A0-DME-BCO | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-DME-BCO:PR-PD-QT-0000-QTREPNNPVL | Quality tag of fusion power density for PON | PONFROMCONVENTIONAL | D1-I2-B2A0-DME-BCO | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-DME-BCO:BR-FP-ME-0000-MPREPNPWVL | Fusion power measurement for PON | PONFROMCONVENTIONAL | D1-I2-B2A0-DME-BCO | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-DME-BCO:BR-FP-TS-0000-TMREPNNPVL | Timestamp of Fusion power for PON | PONFROMCONVENTIONAL | D1-I2-B2A0-DME-BCO | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-DME-BCO:BR-FP-ER-0000-ERREPNNPVL | Error of Fusion power for PON | PONFROMCONVENTIONAL | D1-I2-B2A0-DME-BCO | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-DME-BCO:BR-FP-QT-0000-QTREPNNPVL | Quality tag of Fusion power for PON | PONFROMCONVENTIONAL | D1-I2-B2A0-DME-BCO | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-DME-BCO:BR-FR-ME-0000-MPREPNNPVL | Fuel ratio measurement for PON | PONFROMCONVENTIONAL | D1-I2-B2A0-DME-BCO | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-DME-BCO:BR-FR-TS-0000-TMREPNNPVL | Timestamp of Fuel ratio for PON | PONFROMCONVENTIONAL | D1-I2-B2A0-DME-BCO | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-DME-BCO:BR-FR-ER-0000-ERREPNNPVL | Error of Fuel ratio for PON | PONFROMCONVENTIONAL | D1-I2-B2A0-DME-BCO | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-DME-BCO:BR-FR-QT-0000-QTREPNNPVL | Quality tag of Fuel ratio for PON | PONFROMCONVENTIONAL | D1-I2-B2A0-DME-BCO | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-DME-APC:PR-NP-ME-0000-MPREPNPWBF | Neutron and alpha source profile measurements for PON | PONFROMCONVENTIONAL | D1-I2-B2A0-DME-APC | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-DME-APC:PR-NP-TS-0000-TMREPNNPVL | Timestamp of neutron and alpha source profile for PON | PONFROMCONVENTIONAL | D1-I2-B2A0-DME-APC | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-DME-APC:PR-NP-ER-0000-ERREPNNPVL | Error of neutron and alpha source profile data for PON | PONFROMCONVENTIONAL | D1-I2-B2A0-DME-APC | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-DME-APC:PR-NP-QT-0000-QTREPNNPVL | Quality tag of neutron and alpha source profile for PON | PONFROMCONVENTIONAL | D1-I2-B2A0-DME-APC | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-DME-APC:BR-TI-ME-0000-MPREPNPWBF | Ion temperature measurements for PON | PONFROMCONVENTIONAL | D1-I2-B2A0-DME-APC | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-DME-APC:BR-TI-TS-0000-TMREPNNPVL | Timestamp of Ion temperature for PON | PONFROMCONVENTIONAL | D1-I2-B2A0-DME-APC | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-DME-APC:BR-TI-ER-0000-ERREPNNPVL | Error of Ion temperature for PON | PONFROMCONVENTIONAL | D1-I2-B2A0-DME-APC | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-DME-APC:BR-TI-QT-0000-QTREPNNPVL | Quality tag of Ion temperature for PON | PONFROMCONVENTIONAL | D1-I2-B2A0-DME-APC | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-DME-PHY:BR-FP-ME-0000-MPREPNPWVL | Fusion power measurements for PON | PONFROMCONVENTIONAL | D1-I2-B2A0-DME-PHY | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-DME-PHY:BR-FP-TS-0000-TMREPNNPVL | Timestamp of Fusion power for PON | PONFROMCONVENTIONAL | D1-I2-B2A0-DME-PHY | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-DME-PHY:BR-FP-ER-0000-ERREPNNPVL | Error of Fusion power for PON | PONFROMCONVENTIONAL | D1-I2-B2A0-DME-PHY | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-DME-PHY:BR-FP-QT-0000-QTREPNNPVL | Quality tag of Fusion power for PON | PONFROMCONVENTIONAL | D1-I2-B2A0-DME-PHY | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-DME-PHY:BR-TF-ME-0000-MPREPNPWVL | Total neutron flux measurements for PON | PONFROMCONVENTIONAL | D1-I2-B2A0-DME-PHY | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-DME-PHY:BR-TF-TS-0000-TMREPNNPVL | Timestamp of Total neutron flux for PON | PONFROMCONVENTIONAL | D1-I2-B2A0-DME-PHY | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-DME-PHY:BR-TF-ER-0000-ERREPNNPVL | Error of Total neutron flux for PON | PONFROMCONVENTIONAL | D1-I2-B2A0-DME-PHY | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-DME-PHY:BR-TF-QT-0000-QTREPNNPVL | Quality tag of Total neutron flux for PON | PONFROMCONVENTIONAL | D1-I2-B2A0-DME-PHY | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-DME-PHY:SR-ES-ME-0000-MPREPNPWBF | p, D, T, He Energy Spectrum measurements for PON | PONFROMCONVENTIONAL | D1-I2-B2A0-DME-PHY | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-DME-PHY:SR-ES-TS-0000-TMREPNNPVL | Timestamp of p, D, T, He Energy Spectrum for PON | PONFROMCONVENTIONAL | D1-I2-B2A0-DME-PHY | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-DME-PHY:SR-ES-ER-0000-ERREPNNPVL | Error of p, D, T, He Energy Spectrum for PON | PONFROMCONVENTIONAL | D1-I2-B2A0-DME-PHY | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-DME-PHY:SR-ES-QT-0000-QTREPNNPVL | Quality tag of p, D, T, He Energy Spectrum for PON | PONFROMCONVENTIONAL | D1-I2-B2A0-DME-PHY | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-DME-MPC:BR-TF-ME-0000-MPREPNPWVL | Total neutron flux measurements for PON | PONFROMCONVENTIONAL | D1-I2-B2A0-DME-MPC | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-DME-MPC:BR-TF-TS-0000-TMREPNNPVL | Timestamp of Total neutron flux for PON | PONFROMCONVENTIONAL | D1-I2-B2A0-DME-MPC | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-DME-MPC:BR-TF-ER-0000-ERREPNNPVL | Error of Total neutron flux for PON | PONFROMCONVENTIONAL | D1-I2-B2A0-DME-MPC | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-DME-MPC:BR-TF-QT-0000-QTREPNNPVL | Quality tag of Total neutron flux for PON | PONFROMCONVENTIONAL | D1-I2-B2A0-DME-MPC | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-AUT:AS-CR-00-0000-CORWPNNPEN | COS OPREQ | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-AUT | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-AUT:AS-CS-00-0000-STREPNNPEN | COS OPSTATE | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-AUT | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-AUT:AS-PR-00-0000-CORWPNNPEN | PSOS OPREQ | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-AUT | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-AUT:AS-PS-00-0000-STREPNNPEN | PSOS OPSTATE | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-AUT | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-AUT:CD-PC-NE-0000-CDREPNNPVL | 55.NE power is available for Plant System | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-AUT | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-AUT:CD-PS-SA-0000-CDREPNNPVL | 55B2 is absent? | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-AUT | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-AUT:CD-PS-SS-0000-CDREPNNPVL | System status is OK? | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-AUT | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-AUT:CD-PS-SH-0000-CDREPNNPVL | System Health is OK? | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-AUT | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-AUT:CD-PS-ER-0000-CDREPNNPVL | Plant system equipment is ready | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-AUT | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-AUT:CD-PS-CD-0000-CDREPNNPVL | Plant system configuration is done | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-AUT | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-AUT:CD-PS-IC-0000-CDREPNNPVL | I&C Status is OK? | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-AUT | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-AUT:CD-PS-PP-0000-CDREPNNPVL | Plant System Present? | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-AUT | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-AUT:CD-PS-PO-0000-CDREPNNPVL | Plant System is Power Off? | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-AUT | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-AUT:CD-PS-AA-0000-CDREPNNPVL | Assemblance and accessibility of 55B2 | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-AUT | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-AUT:CD-PS-IR-0000-CDREPNNPVL | 55B2 I&C Ready status | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-AUT | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-AUT:CD-CN-CN-0000-CDREPNNPVL | Communication with network established variable | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-AUT | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-AUT:CD-CO-GS-0000-CDREPNNPVL | Global Operation State is Sage? | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-AUT | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-AUT:CD-CO-CP-0000-CDREPNNPVL | Command and information of pulse received variable | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-AUT | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-AUT:CD-CO-SM-0000-CDREPNNPVL | Start measurement command received variable | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-AUT | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-AUT:CD-CO-TP-0000-CDREPNNPVL | Termination procedure succeded variable | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-AUT | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-AUT:CD-CO-SC-0000-CDREPNNPVL | Specific configuration for pulse is done variable | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-AUT | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-AUT:CD-CO-CA-0000-CDREPNNPVL | Calibration control and data available variable | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-AUT | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-AUT:CD-CO-FO-0000-CDREPNNPVL | Failure or critical error variable | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-AUT | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-AUT:CD-CO-LR-0000-CDREPNNPVL | Request for local is received variable | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-AUT | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-AUT:CD-CO-AE-0000-CDREPNNPVL | Abort event appeared variable | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-AUT | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-AUT:AS-PS-00-0000-STREPNNPEN | PON connection event Fault variable | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-AUT | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-AUT:AS-PS-00-0000-STREPNNPEN | SDN connection event fault variable | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-AUT | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-AUT:AS-PS-00-0000-STREPNNPEN | DAN connection event fault variable | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-AUT | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-AUT:AS-PS-00-0000-STREPNNPEN | TCN connection event fault variable | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-AUT | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-AUT:AS-PS-00-0000-STREPNNPEN | Fault event variable | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-AUT | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-AUT:AS-PS-00-0000-STREPNNPEN | Abort event variable | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-AUT | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-AUT:AS-PS-00-0000-STREPNNPEN | Request for I&C Power On Status variable | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-AUT | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-AUT:AS-PS-00-0000-STREPNNPEN | Request for Power Off variable | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-AUT | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-AUT:AS-PS-00-0000-STREPNNPEN | Request for I&C Ready variable | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-AUT | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-AUT:AS-PS-00-0000-STREPNNPEN | Request for configuration variable | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-AUT | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-AUT:AS-PS-00-0000-STREPNNPEN | Request for System Ready variable | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-AUT | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-AUT:AS-PS-00-0000-STREPNNPEN | Request for measurements variable | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-AUT | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-AUT:AS-PS-00-0000-STREPNNPEN | Request for measurements variable | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-AUT | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-AUT:AS-PS-00-0000-STREPNNPEN | Request for configuration variable | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-AUT | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-AUT:AS-PS-00-0000-STREPNNPEN | Request for Local(Expert) variable | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-AUT | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-AUT:AS-PS-00-0000-STREPNNPEN | End of measurement status | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-AUT | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-INT:HI-FI-B1-0000-STREPNNPEN | Initialization of FPGA board status | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-INT | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-INT:HI-FI-B2-0000-STREPNNPEN | Initialization of FPGA board status | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-INT | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-INT:HI-FI-B3-0000-STREPNNPEN | Initialization of FPGA board status | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-INT | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-INT:HI-FI-B4-0000-STREPNNPEN | Initialization of FPGA board status | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-INT | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-INT:HI-FI-B5-0000-STREPNNPEN | Initialization of FPGA board status | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-INT | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-INT:HI-FI-B6-0000-STREPNNPEN | Initialization of FPGA board status | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-INT | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-INT:HI-FI-B7-0000-STREPNNPEN | Initialization of FPGA board status | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-INT | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-INT:HI-FI-B8-0000-STREPNNPEN | Initialization of FPGA board status | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-INT | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-INT:HI-FI-B9-0000-STREPNNPEN | Initialization of FPGA board status | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-INT | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-INT:HI-PI-P1-0000-STREPNNPEN | Initialization of PCF status | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-INT | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-INT:HI-PI-P2-0000-STREPNNPEN | Initialization of PCF status | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-INT | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-INT:HI-PI-P3-0000-STREPNNPEN | Initialization of PCF status | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-INT | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-INT:HI-DI-B1-0000-STREPNNPEN | ADC initialization status | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-INT | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-INT:HI-DI-B2-0000-STREPNNPEN | ADC initialization status | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-INT | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-INT:HI-DI-B3-0000-STREPNNPEN | ADC initialization status | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-INT | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-INT:HI-DI-B4-0000-STREPNNPEN | ADC initialization status | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-INT | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-INT:HI-DI-B5-0000-STREPNNPEN | ADC initialization status | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-INT | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-INT:HI-DI-B6-0000-STREPNNPEN | ADC initialization status | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-INT | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-INT:SI-MI-00-0000-STREPNNPEN | Status of MiniCODAC initialization | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-INT | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-INT:SI-RS-00-0000-STREPNNPEN | Remote station network status | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-INT | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-CFG:NP-CP-00-0000-COREPNNPEN | Commit network parameters value | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-CFG | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-CFG:NP-CS-00-0000-STRWPNNPEN | Network parameters commit state value | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-CFG | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-CFG:SM-CP-00-0000-STREPNNPEN | Commit system management parameters value | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-CFG | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-CFG:SM-CS-00-0000-CORWPNNPEN | System management parameters commit state value | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-CFG | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-CFG:SC-CP-00-0000-STREPNNPEN | Commit signal conditioning parameters value | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-CFG | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-CFG:SC-CS-00-0000-CORWPNNPEN | Signal conditioning parameters commit state value | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-CFG | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-CFG:DQ-CP-00-0000-CORWPNNPEN | Commit DAQ parameters value | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-CFG | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-CFG:DQ-CS-00-0000-CORWPNNPEN | DAQ parameters commit state value | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-CFG | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-CFG:DP-CP-00-0000-CORWPNNPEN | Commit data processing parameters value | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-CFG | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-CFG:DP-CS-00-0000-CORWPNNPEN | Data processing parameters commit state value | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-CFG | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-CFG:AR-CP-00-0000-CORWPNNPEN | Commit arhiving parameters value | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-CFG | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-CFG:AR-CS-00-0000-CORWPNNPEN | Archiving parameters commit state value | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-CFG | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-CFG:HM-CP-00-0000-CORWPNNPEN | Commit HMI parameters value | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-CFG | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-CFG:HM-CS-00-0000-CORWPNNPEN | HMI parameters commit state value | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-CFG | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-CFG:DM-CP-00-0000-CORWPNNPEN | Commit system default measurement parameters value | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-CFG | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-CFG:DM-CS-00-0000-CORWPNNPEN | System default measurement parameters commit state value | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-CFG | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-PST:HS-HS-00-0000-STREPNNPEN | Hardware status value | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-PST | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-PST:HS-CS-00-0000-STREPNNPEN | Cubicle staus value | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-PST | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-PST:SW-OS-00-0000-STREPNNPEN | OS status value | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-PST | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-PST:SW-SS-00-0000-STREPNNPEN | CSSstatus value | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-PST | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-PST:SW-ND-00-0000-STREPNNPEN | NDS driver status value | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-PST | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-PST:SW-SV-00-0000-STREPNNPEN | Software version value | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-PST | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-PST:SW-SW-00-0000-STREPNNPEN | Software summary status value | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-PST | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-PST:SY-RS-00-0000-STREPNNPEN | Ready status value | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-PST | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-PST:SY-PS-00-0000-STREPNNPEN | Prepared status value | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-PST | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-PST:SY-PM-00-0000-STREPNNPEN | Prepared to measurement status value | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-PST | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-PST:SY-SU-00-0000-STREPNNPEN | System summary status value | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-PST | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-PST:NS-NS-00-0000-STREPNNPEN | Network status value | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-PST | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-PST:NS-NE-00-0000-STREPNNPEN | Network error value | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-PST | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-PST:ES-HS-00-0000-STREPNNPEN | Hard Soft Classification value | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-PST | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-PST:ES-TE-00-0000-STREPNNPEN | Exception type classification value | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-PST | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai
D1-I2-B2A0-OPR-PST:ES-RS-00-0000-STREPNNPEN | Exception risk status value | PONFROMCONVENTIONAL | D1-I2-B2A0-OPR-PST | 55B2A0-PCF-0004 | iocD1-I2-PCF4CORE |  | state | VOLATILE |  | 55B2A0-PCF-0004:ET4-CCC | true | FALSE | false | false | ai

## Template Variables
VARIABLE NAME* | DESCRIPTION | TEMPLATE NAME | TEMPLATE VERSION | VARIABLE TYPE* | FUNCTION NAME* | DEPLOYMENT UNIT NAME | IOC NAME | I/O MODULE NAME | CATEGORY | STORAGE SPECIFIER | DATA TYPE | SIGNAL NAME | EXTERNAL | HMI VISIBILITY | ALARM ENABLED | ARCHIVING ENABLED | RECORD TYPE | beast:annunciating | beast:delay | beast:description | beast:details | beast:display1¦details | beast:display1¦title | beast:guidance1¦details | beast:guidance1¦title | beast:guidance2¦details | beast:guidance2¦title | beast:guidance3¦details | beast:guidance3¦title | beast:guidance4¦details | beast:guidance4¦title | beast:latching | beast:title | beauty:archivingSamplingFrequency | beauty:archivingSamplingMode | beauty:groupEnabledArchivingPV | epics:ADEL | epics:BRSV | epics:CALC | epics:DESC | epics:DTYP | epics:EGU | epics:EIST | epics:EISV | epics:EIVL | epics:ELST | epics:ELSV | epics:ELVL | epics:FFST | epics:FFSV | epics:FFVL | epics:FLNK | epics:FRST | epics:FRSV | epics:FRVL | epics:FTST | epics:FTSV | epics:FTVL | epics:FVST | epics:FVSV | epics:FVVL | epics:HHSV | epics:HIGH | epics:HIHI | epics:HOPR | epics:HSV | epics:HYST | epics:INP | epics:INPA | epics:INPB | epics:INPC | epics:INPD | epics:INPE | epics:INPF | epics:L | epics:LOPR | epics:MDEL | epics:NELM | epics:NIST | epics:NISV | epics:NIVL | epics:ONST | epics:ONSV | epics:ONVL | epics:PHAS | epics:PINI | epics:PREC | epics:SCAN | epics:SEVR | epics:SIZV | epics:SNAM | epics:STAT | epics:SVST | epics:SVSV | epics:SVVL | epics:SXST | epics:SXSV | epics:SXVL | epics:TEST | epics:TESV | epics:TEVL | epics:THST | epics:THSV | epics:THVL | epics:TTST | epics:TTSV | epics:TTVL | epics:TVST | epics:TVSV | epics:TVVL | epics:TWST | epics:TWSV | epics:TWVL | epics:UNSV | epics:VAL | epics:ZRST | epics:ZRSV | epics:ZRVL | pulse_scheduling:isConfiguredByPulseScheduling | macro:INSTANCENAME
D1-I2-SYSM-55B2-A0:PSH0001-BTIME |  | sysmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0SYSM |  | state | VOLATILE |  |  | true | true | false | true | stringin
D1-I2-SYSM-55B2-A0:PSH0001-CAV1 |  | sysmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0SYSM |  | state | VOLATILE |  |  | true | true | false | false | ai
D1-I2-SYSM-55B2-A0:PSH0001-CCSV |  | sysmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0SYSM |  | state | VOLATILE |  |  | true | true | false | true | stringin
D1-I2-SYSM-55B2-A0:PSH0001-CFA |  | sysmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0SYSM |  | state | VOLATILE |  |  | true | false | false | false | calcout
D1-I2-SYSM-55B2-A0:PSH0001-CORE-BECTME |  | iocmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0CORE |  | state | VOLATILE |  |  | true | true | false | false | stringin
D1-I2-SYSM-55B2-A0:PSH0001-CORE-CACLNTC |  | iocmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0CORE |  | state | VOLATILE |  |  | true | true | false | false | ai
D1-I2-SYSM-55B2-A0:PSH0001-CORE-CAPVC |  | iocmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0CORE |  | state | VOLATILE |  |  | true | true | false | false | ai
D1-I2-SYSM-55B2-A0:PSH0001-CORE-CBHQHI |  | iocmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0CORE |  | state | VOLATILE |  |  | true | true | false | false | ai
D1-I2-SYSM-55B2-A0:PSH0001-CORE-CBHQHIP |  | iocmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0CORE |  | state | VOLATILE |  |  | true | true | false | false | calc
D1-I2-SYSM-55B2-A0:PSH0001-CORE-CBHQOVR |  | iocmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0CORE |  | state | VOLATILE |  |  | true | true | false | false | ai
D1-I2-SYSM-55B2-A0:PSH0001-CORE-CBLQHI |  | iocmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0CORE |  | state | VOLATILE |  |  | true | true | false | false | ai
D1-I2-SYSM-55B2-A0:PSH0001-CORE-CBLQHIP |  | iocmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0CORE |  | state | VOLATILE |  |  | true | true | false | false | calc
D1-I2-SYSM-55B2-A0:PSH0001-CORE-CBLQOVR |  | iocmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0CORE |  | state | VOLATILE |  |  | true | true | false | false | ai
D1-I2-SYSM-55B2-A0:PSH0001-CORE-CBMQHI |  | iocmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0CORE |  | state | VOLATILE |  |  | true | true | false | false | ai
D1-I2-SYSM-55B2-A0:PSH0001-CORE-CBMQHIP |  | iocmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0CORE |  | state | VOLATILE |  |  | true | true | false | false | calc
D1-I2-SYSM-55B2-A0:PSH0001-CORE-CBMQOVR |  | iocmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0CORE |  | state | VOLATILE |  |  | true | true | false | false | ai
D1-I2-SYSM-55B2-A0:PSH0001-CORE-CBQSIZE |  | iocmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0CORE |  | state | VOLATILE |  |  | true | true | false | false | ai
D1-I2-SYSM-55B2-A0:PSH0001-CORE-CONTMO |  | iocmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0CORE |  | state | VOLATILE |  |  | true | true | false | false | stringin
D1-I2-SYSM-55B2-A0:PSH0001-CORE-CPUUTL |  | iocmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0CORE |  | state | VOLATILE |  |  | true | true | false | false | ai
D1-I2-SYSM-55B2-A0:PSH0001-CORE-DBCLC |  | iocmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0CORE |  | state | VOLATILE |  |  | true | true | false | false | ai
D1-I2-SYSM-55B2-A0:PSH0001-CORE-DBDLC |  | iocmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0CORE |  | state | VOLATILE |  |  | true | true | false | true | ai
D1-I2-SYSM-55B2-A0:PSH0001-CORE-DBRECC |  | iocmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0CORE |  | state | VOLATILE |  |  | true | true | false | true | ai
D1-I2-SYSM-55B2-A0:PSH0001-CORE-FDUTL |  | iocmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0CORE |  | state | VOLATILE |  |  | true | true | false | false | ai
D1-I2-SYSM-55B2-A0:PSH0001-CORE-HB |  | iocmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0CORE |  | state | VOLATILE |  |  | true | true | false | false | calcout
D1-I2-SYSM-55B2-A0:PSH0001-CORE-IOCDIR |  | iocmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0CORE |  | state | VOLATILE |  |  | true | true | false | false | lsi
D1-I2-SYSM-55B2-A0:PSH0001-CORE-MEMUTL |  | iocmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0CORE |  | state | VOLATILE |  |  | true | true | false | false | ai
D1-I2-SYSM-55B2-A0:PSH0001-CORE-PID |  | iocmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0CORE |  | state | VOLATILE |  |  | true | true | false | false | ai
D1-I2-SYSM-55B2-A0:PSH0001-CORE-SOQHI |  | iocmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0CORE |  | state | VOLATILE |  |  | true | true | false | false | ai
D1-I2-SYSM-55B2-A0:PSH0001-CORE-SOQHIP |  | iocmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0CORE |  | state | VOLATILE |  |  | true | true | false | false | calc
D1-I2-SYSM-55B2-A0:PSH0001-CORE-SOQOVR |  | iocmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0CORE |  | state | VOLATILE |  |  | true | true | false | false | ai
D1-I2-SYSM-55B2-A0:PSH0001-CORE-SOQSIZE |  | iocmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0CORE |  | state | VOLATILE |  |  | true | true | false | false | ai
D1-I2-SYSM-55B2-A0:PSH0001-CORE-STOP |  | iocmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0CORE |  | state | VOLATILE |  |  | true | false | false | false | sub
D1-I2-SYSM-55B2-A0:PSH0001-CORE-STTOD |  | iocmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0CORE |  | state | VOLATILE |  |  | true | true | false | true | stringin
D1-I2-SYSM-55B2-A0:PSH0001-CORE-SVPORT |  | iocmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0CORE |  | state | VOLATILE |  |  | true | true | false | false | stringin
D1-I2-SYSM-55B2-A0:PSH0001-CPUUTL |  | sysmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0SYSM |  | state | VOLATILE |  |  | true | true | false | true | ai
D1-I2-SYSM-55B2-A0:PSH0001-DISKFREE |  | sysmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0SYSM |  | state | VOLATILE |  |  | true | true | false | false | ai
D1-I2-SYSM-55B2-A0:PSH0001-DISKMAX |  | sysmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0SYSM |  | state | VOLATILE |  |  | true | true | false | false | ai
D1-I2-SYSM-55B2-A0:PSH0001-DISKUTL |  | sysmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0SYSM |  | state | VOLATILE |  |  | true | true | false | true | ai
D1-I2-SYSM-55B2-A0:PSH0001-EPICSV |  | sysmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0SYSM |  | state | VOLATILE |  |  | true | true | false | true | stringin
D1-I2-SYSM-55B2-A0:PSH0001-FDUTL |  | sysmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0SYSM |  | state | VOLATILE |  |  | true | true | false | false | ai
D1-I2-SYSM-55B2-A0:PSH0001-HOSTNAME |  | sysmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0SYSM |  | state | VOLATILE |  |  | true | true | false | true | stringin
D1-I2-SYSM-55B2-A0:PSH0001-IPADDR |  | sysmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0SYSM |  | state | VOLATILE |  |  | true | true | false | false | stringin
D1-I2-SYSM-55B2-A0:PSH0001-KERNELV |  | sysmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0SYSM |  | state | VOLATILE |  |  | true | true | false | false | stringin
D1-I2-SYSM-55B2-A0:PSH0001-MEMFREE |  | sysmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0SYSM |  | state | VOLATILE |  |  | true | true | false | false | ai
D1-I2-SYSM-55B2-A0:PSH0001-MEMMAX |  | sysmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0SYSM |  | state | VOLATILE |  |  | true | true | false | false | ai
D1-I2-SYSM-55B2-A0:PSH0001-MEMUTL |  | sysmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0SYSM |  | state | VOLATILE |  |  | true | true | false | true | ai
D1-I2-SYSM-55B2-A0:PSH0001-NRBPS |  | sysmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0SYSM |  | state | VOLATILE |  |  | true | true | false | true | ai
D1-I2-SYSM-55B2-A0:PSH0001-NSBPS |  | sysmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0SYSM |  | state | VOLATILE |  |  | true | true | false | true | ai
D1-I2-SYSM-55B2-A0:PSH0001-OSV |  | sysmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0SYSM |  | state | VOLATILE |  |  | true | true | false | false | stringin
D1-I2-SYSM-55B2-A0:PSH0001-PICMG |  | sysmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0SYSM |  | state | VOLATILE |  |  | true | false | false | false | calcout
D1-I2-SYSM-55B2-A0:PSH0001-PROCLST |  | sysmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0SYSM |  | state | VOLATILE |  |  | true | true | false | false | waveform
D1-I2-SYSM-55B2-A0:PSH0001-PROCSTS |  | sysmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0SYSM |  | state | VOLATILE |  |  | true | true | false | false | waveform
D1-I2-SYSM-55B2-A0:PSH0001-PS |  | sysmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0SYSM |  | state | VOLATILE |  |  | true | true | false | false | mbbiDirect
D1-I2-SYSM-55B2-A0:PSH0001-SHLT |  | sysmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0SYSM |  | state | VOLATILE |  |  | true | true | true | true | mbbi
D1-I2-SYSM-55B2-A0:PSH0001-SHLTC |  | sysmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0SYSM |  | state | VOLATILE |  |  | true | false | false | false | calcout
D1-I2-SYSM-55B2-A0:PSH0001-SHLTCL |  | sysmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0SYSM |  | state | VOLATILE |  |  | true | false | false | false | calcout
D1-I2-SYSM-55B2-A0:PSH0001-SHLTCS |  | sysmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0SYSM |  | state | VOLATILE |  |  | true | false | false | false | calcout
D1-I2-SYSM-55B2-A0:PSH0001-SYSHLT |  | sysmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0SYSM |  | state | VOLATILE |  |  | true | false | false | false | calcout
D1-I2-SYSM-55B2-A0:PSH0001-SYSHLTS |  | sysmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0SYSM |  | state | VOLATILE |  |  | true | true | true | true | mbbi
D1-I2-SYSM-55B2-A0:PSH0001-SYSM-BECTME |  | iocmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0SYSM |  | state | VOLATILE |  |  | true | true | false | false | stringin
D1-I2-SYSM-55B2-A0:PSH0001-SYSM-CACLNTC |  | iocmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0SYSM |  | state | VOLATILE |  |  | true | true | false | false | ai
D1-I2-SYSM-55B2-A0:PSH0001-SYSM-CAPVC |  | iocmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0SYSM |  | state | VOLATILE |  |  | true | true | false | false | ai
D1-I2-SYSM-55B2-A0:PSH0001-SYSM-CBHQHI |  | iocmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0SYSM |  | state | VOLATILE |  |  | true | true | false | false | ai
D1-I2-SYSM-55B2-A0:PSH0001-SYSM-CBHQHIP |  | iocmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0SYSM |  | state | VOLATILE |  |  | true | true | false | false | calc
D1-I2-SYSM-55B2-A0:PSH0001-SYSM-CBHQOVR |  | iocmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0SYSM |  | state | VOLATILE |  |  | true | true | false | false | ai
D1-I2-SYSM-55B2-A0:PSH0001-SYSM-CBLQHI |  | iocmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0SYSM |  | state | VOLATILE |  |  | true | true | false | false | ai
D1-I2-SYSM-55B2-A0:PSH0001-SYSM-CBLQHIP |  | iocmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0SYSM |  | state | VOLATILE |  |  | true | true | false | false | calc
D1-I2-SYSM-55B2-A0:PSH0001-SYSM-CBLQOVR |  | iocmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0SYSM |  | state | VOLATILE |  |  | true | true | false | false | ai
D1-I2-SYSM-55B2-A0:PSH0001-SYSM-CBMQHI |  | iocmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0SYSM |  | state | VOLATILE |  |  | true | true | false | false | ai
D1-I2-SYSM-55B2-A0:PSH0001-SYSM-CBMQHIP |  | iocmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0SYSM |  | state | VOLATILE |  |  | true | true | false | false | calc
D1-I2-SYSM-55B2-A0:PSH0001-SYSM-CBMQOVR |  | iocmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0SYSM |  | state | VOLATILE |  |  | true | true | false | false | ai
D1-I2-SYSM-55B2-A0:PSH0001-SYSM-CBQSIZE |  | iocmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0SYSM |  | state | VOLATILE |  |  | true | true | false | false | ai
D1-I2-SYSM-55B2-A0:PSH0001-SYSM-CONTMO |  | iocmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0SYSM |  | state | VOLATILE |  |  | true | true | false | false | stringin
D1-I2-SYSM-55B2-A0:PSH0001-SYSM-CPUUTL |  | iocmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0SYSM |  | state | VOLATILE |  |  | true | true | false | false | ai
D1-I2-SYSM-55B2-A0:PSH0001-SYSM-DBCLC |  | iocmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0SYSM |  | state | VOLATILE |  |  | true | true | false | false | ai
D1-I2-SYSM-55B2-A0:PSH0001-SYSM-DBDLC |  | iocmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0SYSM |  | state | VOLATILE |  |  | true | true | false | true | ai
D1-I2-SYSM-55B2-A0:PSH0001-SYSM-DBRECC |  | iocmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0SYSM |  | state | VOLATILE |  |  | true | true | false | true | ai
D1-I2-SYSM-55B2-A0:PSH0001-SYSM-FDUTL |  | iocmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0SYSM |  | state | VOLATILE |  |  | true | true | false | false | ai
D1-I2-SYSM-55B2-A0:PSH0001-SYSM-HB |  | iocmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0SYSM |  | state | VOLATILE |  |  | true | true | false | false | calcout
D1-I2-SYSM-55B2-A0:PSH0001-SYSM-IOCDIR |  | iocmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0SYSM |  | state | VOLATILE |  |  | true | true | false | false | lsi
D1-I2-SYSM-55B2-A0:PSH0001-SYSM-MEMUTL |  | iocmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0SYSM |  | state | VOLATILE |  |  | true | true | false | false | ai
D1-I2-SYSM-55B2-A0:PSH0001-SYSM-PID |  | iocmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0SYSM |  | state | VOLATILE |  |  | true | true | false | false | ai
D1-I2-SYSM-55B2-A0:PSH0001-SYSM-SOQHI |  | iocmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0SYSM |  | state | VOLATILE |  |  | true | true | false | false | ai
D1-I2-SYSM-55B2-A0:PSH0001-SYSM-SOQHIP |  | iocmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0SYSM |  | state | VOLATILE |  |  | true | true | false | false | calc
D1-I2-SYSM-55B2-A0:PSH0001-SYSM-SOQOVR |  | iocmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0SYSM |  | state | VOLATILE |  |  | true | true | false | false | ai
D1-I2-SYSM-55B2-A0:PSH0001-SYSM-SOQSIZE |  | iocmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0SYSM |  | state | VOLATILE |  |  | true | true | false | false | ai
D1-I2-SYSM-55B2-A0:PSH0001-SYSM-STOP |  | iocmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0SYSM |  | state | VOLATILE |  |  | true | false | false | false | sub
D1-I2-SYSM-55B2-A0:PSH0001-SYSM-STTOD |  | iocmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0SYSM |  | state | VOLATILE |  |  | true | true | false | true | stringin
D1-I2-SYSM-55B2-A0:PSH0001-SYSM-SVPORT |  | iocmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0SYSM |  | state | VOLATILE |  |  | true | true | false | false | stringin
D1-I2-SYSM-55B2-A0:PSH0001-TIME |  | sysmon | 632 | PONFROMCONVENTIONAL | D1-I2-SYSM | 55B2A0-PSH-0001 | iocD1-I2-PSH0SYSM |  | state | VOLATILE |  |  | true | true | false | false | stringin